## Table 1
Availability & Backing down details during APRIL FY2023-24
Name of the Generator | INSTALLED CAP (AP SHARE) | AUX CONSUMPTION % | APRIL
|  |  | % Availabilties communicated by APSLDC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 87.29 | 720.62 | 684.71 | 82.94 | 35.91
Dr. NTTPS-IV | 500 | 7.5 | 88.22 | 293.77 | 278.22 | 83.55 | 15.56
RTPP Stage-I | 420 | 9 | 72.34 | 199.07 | 187.45 | 68.12 | 11.62
RTPP Stage-II | 420 | 9 | 98.03 | 269.76 | 243.53 | 88.5 | 26.23
RTPP Stage-III | 210 | 9 | 82.15 | 113.03 | 105.84 | 76.93 | 7.19
RTPP Stage-IV | 600 | 5.75 | 68.27 | 277.97 | 261.47 | 64.22 | 16.5
Srisailam RCPH | 770 | 1 | 100 | 548.86 | 4.88 | 0.89 | 543.97
NSRCPH | 90 | 1 | 100 | 64.15 | 0.06 | 0.09 | 64.09
NSTPDC PH | 50 | 1 | 100 | 35.64 | 0.22 | 0.61 | 35.42
Upper Sileru | 240 | 1 | 100 | 171.07 | 24.16 | 14.13 | 146.91
Lower Sileru | 460 | 1 | 100 | 327.89 | 81.99 | 25 | 245.9
Donkarayi | 25 | 1 | 100 | 17.82 | 2.67 | 14.98 | 15.15
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.01 | - | 0
Minihydel(Chettipet) | 1 | 1 | 100 | 0.71 | 0.27 | 37.87 | 0.44
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 25.18 | 58.88 | 0
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 3.1 | 7.56 | 0
APPDCL Stage-I | 1600 | 6.5 | 56.7 | 610.73 | 589.97 | 54.77 | 20.76
APPDCL Stage-II | 800 | 5.75 | 68.09 | 369.65 | 365.04 | 67.24 | 4.61
HNPCL | 1040 | 5.75 | 56.75 | 400.51 | 403.85 | 57.22 | -
SEMBCORP-P1 | 230.55 | 6 | 96.25 | 159.77 | 158.22 | 95.32 | 1.55
SEMBCORP-P2 | 625 | 6 | TO BE TAKEN SAME AS DESPATCH |  | 304.85 | 72.07 | 0
Ramagundam St-I&II | 289.737 | 7.04 | 93.45 | 165.34 | 141.33 | 85.48 | 24.01 | The PLF>100% implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement
Ramagundam St-III | 72.735 | 6.25 | 104.75 | 45.2 | 36.64 | 81.07 | 8.56
Talcher St-II | 181.34 | 6.25 | 103.54 | 123.8 | 118.05 | 95.35 | 5.75
Simhadri St-I | 461.1 | 5.75 | 97.23 | 304.22 | 254.03 | 83.5 | 50.19
Simhadri St-II | 216.93 | 5.75 | 103.93 | 148.64 | 121.59 | 81.8 | 27.05
Kudgi St-I | 226.992 | 6.25 | 105 | 145.33 | 86.74 | 59.68 | 58.6
Vallur | 86.589 | 6.25 | 101.55 | 59.35 | 51.15 | 86.18 | 8.2
NLC TPS-II St-I | 46.959 | 10 | 50.94 | 14.27 | 15.33 | 107.44 | -
NLC TPS-II St-II | 85.934 | 10 | 47.96 | 25.12 | 26.41 | 105.13 | -
NLC TPS-I Expansion | 2.323 | 8.5 | 92.75 | 1.42 | 1.4 | 98.81 | 0.02
NLC TPS-II Expansion | 2.766 | 10 | 60.92 | 1.09 | 1.08 | 99.42 | 0.01
NNTPS | 52.717 | 6.25 | 98.66 | 32.79 | 34.92 | 106.5 | -
NTPL | 121.766 | 5.75 | 98.62 | 80.52 | 66.84 | 83.02 | 13.67