## ALL DISCOMS
FPPCA ALL DISCOMS FORMAT for the month of APRIL FY 23-24
S.No. | Generating station/ Stage/Source | Availability (MU) |  | Energy Despatch (MU) |  | Cost Components (Rs.Millions)
[6 empty] | Fixed |  | Variable |  | Total
|  | TO | Actual | TO | Actual | TO | Actual | TO | Actual | TO | Actual | REMARKS FOR ENERGY VARIATIONS | Approved -FC | Actual-FC | Approved-VC | Actual-VC | Approved-TC | Actual-TC
1 | Dr. NTTPS | 644 | 720.6243 | 644 | 684.7117 | 569.225 | 609.8583 | 2150.96 | 2990.6838 | 2720.185 | 3600.5421 | The actual availability of APGENCO Stations (except RTPP-IV) is increased than the approved by 8%. Accordingly, the dispatch from these plants increased by 28.59 MU than the approved dispatch. The CoD of Dr.NTTPS Stage-V is yet to be done. Further,the increase in fixed cost is due to achieving the normative avaialabilities by all APGENCO Stations except RTPP-IV. Accordingly, the fixed charges have been admitted duly considering the fixed charges approved in respective MYT orders as directed by Hon'ble APERC. Actual VC is Rs 4.23/Unit where as approved VC is Rs 3.52/Unit. The additional VC is on account of considering March -2023 month actual VC (including FCA) for the month of April-23 provisionally, since April-2023 FCA bills were not received. | 0.88389 | 0.89068 | 3.34 | 4.3678 | 4.2239 | 5.2585
2 | Dr. NTTPS-IV | 277 | 293.7726 | 277 | 278.216 | 240.4083 | 240.675 | 872.55 | 1151.4804 | 1112.9583 | 1392.1554 |  | 0.8679 | 0.86507 | 3.15 | 4.1388 | 4.0179 | 5.0039
3 | Dr. NTTPS-V | 0 | 0 | 0 | 0 | 487.2 | 0 | 0 | 0 | 487.2 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4 | RTPP Stage-I | 186 | 199.0681 | 186 | 187.453 | 183.775 | 206.7115 | 717.96 | 789.6645 | 901.735 | 996.3761 |  | 0.98804 | 1.1027 | 3.86 | 4.2126 | 4.848 | 5.3153
5 | RTPP Stage-II | 219.71 | 269.7629 | 219.706 | 243.5301 | 214.9833 | 224.8583 | 848.0652 | 1025.8949 | 1063.0485 | 1250.7532 |  | 0.9785 | 0.92333 | 3.86 | 4.2126 | 4.8385 | 5.1359
6 | RTPP Stage-III | 105.59 | 113.0318 | 105.58 | 105.844 | 131.5417 | 143.3333 | 407.5388 | 445.8784 | 539.0805 | 589.2118 |  | 1.2459 | 1.3542 | 3.86 | 4.2126 | 5.1059 | 5.5668
7 | RTPP Stage-IV | 300.35 | 277.9681 | 300.35 | 261.469 | 543.2083 | 493.7527 | 1099.281 | 1048.4185 | 1642.4893 | 1542.1713 |  | 1.8086 | 1.8884 | 3.66 | 4.0097 | 5.4686 | 5.8981
8 | GENCO THERMAL TOTAL | 1732.65 | 1874.2279 | 1732.636 | 1761.2238 | 2370.3417 | 1919.1893 | 6096.355 | 7452.0205 | 8466.6966 | 9371.2098 |  | 1.3681 | 1.0897 | 3.5185 | 4.2312 | 4.8866 | 5.3209
9 | Srisailam RCPH | 43.06 | 548.856 | 43.05 | 4.8829 | 193.0333 | 193.0333 | 0 | 0 | 193.0333 | 193.0333 |  | 4.4839 | 39.5325 | 0 | 0 | 4.4839 | 39.5325
10 | NSRCPH | 1.06 | 64.152 | 1.06 | 0.058315 | 22.175 | 22.175 | 0 | 0 | 22.175 | 22.175 | The quantum of discharge of water at hydel power plant is as decided by irrigation authorities. Hence there is a deviation in energy despatch as compared to actual availabiliity declared by the respective plants. The actual water availability restricts the actual generation of electricity from Hydro Generating Stations. Hence, the Fixed Charges had been admitted based on actual avaialability achieved by respective plants as communicated by APSLDC. | 20.9198 | 380.2624 | 0 | 0 | 20.9198 | 380.2624
11 | NSTPDC PH | 0.99 | 35.64 | 0.99 | 0.2164 | 41.2083 | 41.2167 | 0 | 0 | 41.2083 | 41.2167 |  | 41.6246 | 190.4652 | 0 | 0 | 41.6246 | 190.4652
12 | Upper Sileru | 59.09 | 171.072 | 59.08 | 24.1645 | 209.8 | 209.8 | 0 | 0 | 209.8 | 209.8 |  | 3.5511 | 8.6821 | 0 | 0 | 3.5511 | 8.6821
13 | Lower Sileru | 105.25 | 327.888 | 105.24 | 81.9874 |  |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
14 | Donkarayi | 7.35 | 17.82 | 7.35 | 2.6701 |  |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
15 | PABM | 0 | 0 | 0 | -0.011186 | 11.4833 | 11.4833 | 0 | 0 | 11.4833 | 11.4833 |  | #DIV/0! | -1026.5808 | #DIV/0! | 0 | #DIV/0! | -1026.5808
16 | Minihydel(Chettipet) | 0.13 | 0.7128 | 0.13 | 0.26995 | 1.5667 | 1.5667 | 0 | 0 | 1.5667 | 1.5667 |  | 12.0513 | 5.8035 | 0 | 0 | 12.0513 | 5.8035
17 | Machkund AP Share | 29.76 | 25.1838 | 29.76 | 25.1838 | 56.55 | 33.5466 | 0 | 0 | 56.55 | 33.5466 |  | 1.9002 | 1.3321 | 0 | 0 | 1.9002 | 1.3321
18 | TB Dam AP Share | 2.85 | 3.104 | 2.85 | 3.104 | 0 | 23.0034 | 0 | 0 | 0 | 23.0034 |  | 0 | 7.4109 | 0 | 0 | 0 | 7.4109
19 | GENCO HYDEL(INCLUDING INTERSTATE)TOTAL | 249.54 | 1194.4286 | 249.51 | 142.5262 | 535.8167 | 535.825 | 0 | 0 | 535.8167 | 535.825 | Availability from CGS Stations is higher due to continuing consideration of availability declaration from four CGS Stations Viz NTPC-Kudgi, NTECL-Vallur, NNTPS-Nyveli, NTPL-Tuticorin, despite non listing of these plants in the approved list in the RSTO. This is the reason for increase in actual availability when compared to the approved quantum. The fixed cost payment is also increased accordingly. The weighted average actual variable cost of CGS Stations worked out to Rs 3.87/Unit due to the portion of imported coal blending in NTPC Stations as per the directions of MoP. The approved VC isRs 2.76/Unit. Eventhough the VC is higher comprising of imported coal, the plants get dispatched due to prevailing Grid conditions with sustained increase in Grid Demand and souring Market Prices and less realisation of the quantum. | 2.1475 | 3.7595 | 0 | 0 | 2.1475 | 3.7595
20 | NTPC(SR) Ramagundam I & II | 204.61 | 165.3388 | 204.61 | 141.3275 | 124.175 | 110.4686 | 579.0463 | 477.687 | 703.2213 | 588.1556 |  | 0.60689 | 0.78165 | 2.83 | 3.38 | 3.4369 | 4.1616
21 | NTPC(SR) Simhadri Stage-I | 296.95 | 304.2225 | 296.96 | 254.0304 | 253.975 | 273.3652 | 887.9104 | 1226.4586 | 1141.8854 | 1499.8238 |  | 0.85525 | 1.0761 | 2.99 | 4.828 | 3.8452 | 5.9041
22 | NTPC(SR) Simhadri Stage-II | 137.73 | 148.6424 | 137.74 | 121.5941 | 179.3 | 176.4375 | 378.785 | 579.6392 | 558.085 | 756.0767 |  | 1.3017 | 1.451 | 2.75 | 4.767 | 4.0517 | 6.218
23 | NTPC(SR) Talcher Stage-II | 113.42 | 123.8047 | 113.42 | 118.0526 | 73.4417 | 84.4777 | 198.485 | 198.8005 | 271.9267 | 291.6903 |  | 0.64752 | 0.71559 | 1.75 | 1.684 | 2.3975 | 2.4709
24 | NTPC(SR) Ramagundam III | 47.94 | 45.2025 | 47.94 | 36.6437 | 30.9917 | 31.7032 | 133.2732 | 122.0601 | 164.2649 | 153.7633 |  | 0.64647 | 0.86518 | 2.78 | 3.331 | 3.4265 | 4.1962
25 | NTPC Kudgi Stage-I | 0 | 145.3334 | 0 | 86.7352 | 0 | 200.4797 | 0 | 480.253 | 0 | 680.7327 |  | #DIV/0! | 2.3114 | #DIV/0! | 5.537 | #DIV/0! | 7.8484
26 | NTECL Valluru | 0 | 59.3456 | 0 | 51.1457 | 0 | 85.0222 | 0 | 168.5763 | 0 | 254.5612 |  | #DIV/0! | 1.6624 | #DIV/0! | 3.296 | #DIV/0! | 4.9772
27 | NLC Stage-I | 32.34 | 14.2692 | 32.34 | 15.3303 | 16.45 | 13.2915 | 85.701 | 49.1337 | 102.151 | 62.4252 |  | 0.50866 | 0.86701 | 2.65 | 3.205 | 3.1587 | 4.072
28 | NLC Stage-II | 56.9 | 25.117 | 56.9 | 26.4057 | 35.175 | 23.5641 | 150.785 | 84.6302 | 185.96 | 108.1944 |  | 0.61819 | 0.89239 | 2.65 | 3.205 | 3.2682 | 4.0974
29 | NPC(MAPS) | 4.16 | 5.4127 | 4.16 | 5.4127 | 0 | 0 | 10.7744 | 14.0528 | 10.7744 | 14.0528 |  | 0 | 0 | 2.59 | 2.5963 | 2.59 | 2.5963
30 | NPC(KAIGA unit I,II,III,IV) | 53.39 | 77.5717 | 53.39 | 77.5717 | 0 | 0 | 182.0599 | 271.2122 | 182.0599 | 271.2122 |  | 0 | 0 | 3.41 | 3.4963 | 3.41 | 3.4963
31 | NTPL(NLC TamilNadu) | 0 | 80.5183 | 0 | 66.8443 | 0 | 107.549 | 0 | 234.0221 | 0 | 341.7258 |  | #DIV/0! | 1.6089 | #DIV/0! | 3.501 | #DIV/0! | 5.1123
32 | NLC NNTPS | 0 | 32.7857 | 0 | 34.9173 | 0 | 55.3631 | 0 | 89.3184 | 0 | 147.1362 |  | #DIV/0! | 1.5856 | #DIV/0! | 2.558 | #DIV/0! | 4.2139
33 | KKNPP Unit-I | 1.14 | 0.90639 | 1.14 | 0.90639 | 0 | 0 | 5.0274 | 3.9865 | 5.0274 | 3.9865 |  | 0 | 0 | 4.41 | 4.3982 | 4.41 | 4.3982
34 | NLC TPS- I Expn. | 1.32 | 1.4192 | 1.32 | 1.4023 | 1.175 | 1.3027 | 3.234 | 4.0022 | 4.409 | 5.3592 |  | 0.89015 | 0.92897 | 2.45 | 2.854 | 3.3402 | 3.8217
35 | NLC TPS- II Expn. | 1.16 | 1.0896 | 1.16 | 1.0833 | 2.2667 | 2.3351 | 3.0439 | 3.2898 | 5.3106 | 5.625 |  | 1.954 | 2.1557 | 2.6241 | 3.037 | 4.5781 | 5.1927
36 | JNNSM Ph-1 Thermal | 25.34 | 15.8174 | 25.34 | 15.8174 | 26.4167 | 29.1724 | 72.9792 | 72.74 | 99.3959 | 102.1498 |  | 1.0425 | 1.8443 | 2.88 | 4.5987 | 3.9225 | 6.4581
37 | CGS TOTAL | 976.4 | 1246.797 | 976.42 | 1055.2205 | 743.3667 | 1194.5322 | 2691.1047 | 4079.8626 | 3434.4714 | 5286.6707 |  | 0.76132 | 1.132 | 2.7561 | 3.8664 | 3.5174 | 5.01
38 | NCE- Others | 25.81 | 22.1582 | 25.81 | 22.1582 | 8.8833 | 6.4669 | 131.1148 | 132.4637 | 139.9981 | 138.9307 | In view of Must Run nature of NCE/RE generation sources, whatever the power available on actual basis is absorbed. | 0.34418 | 0.29185 | 5.08 | 5.9781 | 5.4242 | 6.2699
39 | NCE Solar | 423 | 446.65 | 423 | 446.65 | 0 | 0 | 1785.06 | 1872.8 | 1785.06 | 1888.6905 |  | 0 | 0 | 4.22 | 4.193 | 4.22 | 4.2286
40 | NCE WIND | 342.2 | 344.11 | 342.2 | 344.11 | 0 | 0 | 1584.386 | 1630.4141 | 1584.386 | 1630.4141 |  | 0 | 0 | 4.63 | 4.7381 | 4.63 | 4.7381
41 | JNNSM PH 1 SOLAR | 4.12 | 3.281 | 4.12 | 3.281 | 0 | 0 | 44.3312 | 35.5079 | 44.3312 | 35.5079 |  | 0 | 0 | 10.76 | 10.8224 | 10.76 | 10.8224
42 | JNNSM PH 2 SOLAR | 209.64 | 174.278 | 209.64 | 174.278 | 0 | 0 | 920.3196 | 775.8173 | 920.3196 | 782.9652 |  | 0 | 0 | 4.39 | 4.4516 | 4.39 | 4.4926
43 | NCE TOTAL | 1004.77 | 990.4772 | 1004.77 | 990.4772 | 8.8833 | 6.4669 | 4465.2116 | 4447.0031 | 4474.0949 | 4476.5083 |  | 0.0088412 | 0.0065291 | 4.444 | 4.4898 | 4.4529 | 4.5195
44 | APPDCL Stage-I | 692.88 | 610.727 | 692.88 | 589.968 | 1024.0583 | 683.1127 | 2175.6432 | 2230.079 | 3199.7015 | 2913.1917 | The actual availabilities of SDSTPS Stage-I is short by around 82 MU. Out of the actual availability of 610 MU, 590 MU is dispatched leaving a backing down of around 20 MU to address the Grid variations. APPDCL-Stage-II achieved CoD during March-23 and was not covered in approved list of Plants. TSNPDCL supply is availed for certain portions of merged Mandals to AP geography under Polavaram project. | 1.478 | 1.1579 | 3.14 | 3.78 | 4.618 | 4.9379
45 | APPDCL Stage-II | 0 | 369.647 | 0 | 365.041 | 690.9167 | 553.4649 | 0 | 1379.855 | 690.9167 | 1933.3199 |  | #DIV/0! | 1.5162 | #DIV/0! | 3.78 | #DIV/0! | 5.2962
46 | Godavari Gas Power Plant | 44.55 | 0 | 44.56 | -0.47677 | 18.2667 | 16.1025 | 200.52 | 0 | 218.7867 | 16.1025 |  | 0.40993 | -33.7745 | 4.5 | 0 | 4.9099 | -33.7745
47 | TS NPDCL (TSPCC) | 0 | 0 | 0 | 2.1898 | 0 | 0 | 0 | 0 | 0 | 16.5767 |  | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 7.57
48 | JOINT SECTOR TOTAL | 737.43 | 980.374 | 737.44 | 956.722 | 1733.2417 | 1252.6801 | 2376.1632 | 3609.9341 | 4109.4049 | 4879.1909 |  | 2.3503 | 1.3093 | 3.2222 | 3.7732 | 5.5725 | 5.0999
49 | Thermal Powertech Corporation (SEIL P1) | 142.67 | 159.7686 | 142.68 | 158.2205 | 224.55 | 222.3801 | 319.6032 | 387.3237 | 544.1532 | 651.5051 | There is shortfall in the availability in respect of HNPCL by 162 MU and Sembcorp -II plant by around 70 MU due to coal constraints. | 1.5738 | 1.4055 | 2.24 | 2.448 | 3.8138 | 4.1177
50 | SEIL P 2 | 375.03 | 304.8496 | 375.03 | 304.8496 | 599.0667 | 559.7532 | 813.8151 | 924.6124 | 1412.8818 | 1484.3656 |  | 1.5974 | 1.8362 | 2.17 | 3.033 | 3.7674 | 4.8692
51 | HNPCL | 564.94 | 403.85 | 564.94 | 403.851 | 786.6667 | 580.291 | 1587.4814 | 1338.0244 | 2374.1481 | 1918.3154 |  | 1.3925 | 1.4369 | 2.81 | 3.3132 | 4.2025 | 4.7501
52 | IPPs TOTAL | 1082.64 | 868.4682 | 1082.65 | 866.9211 | 1610.2833 | 1362.4243 | 2720.8997 | 2649.9605 | 4331.183 | 4054.1861 |  | 1.4874 | 1.5716 | 2.5132 | 3.0567 | 4.0005 | 4.6765
53 | UI CHARGES |  |  | 0 | -6.6828 | 0 | 0 | 0 | 109.176 | 0 | 109.176 |  | #DIV/0! | 0 | #DIV/0! | -16.337 | #DIV/0! | -16.337
54 | Short term purchases |  |  | 874.61 | 1061.9376 | 0 | 0 | 4644.1791 | 9061.1912 | 4644.1791 | 9103.6099 | During real time, the forecasted grid demand varies due to weather conditions and the forecasted generation vary due to outages of Thermal Generation or variation in RE generation. In order to balance the load-generation on real time basis, the APDISCOMs overdraw/under draw from the grid . Also when there is shortfall in Declared availability vis a vis the Grid Demand, DISCOMs procuring the shortfall from power markets, exchanges/e-bidding portal in order to ensure 24X7 power for all at low prices. When surplus power is available in the grid during certain time blocks due to sudden variations in grid demand, or lean Demand periods and peak Wind season, the power is sold through exchanges in situations where backing down of thermal power option is not viable or when market prices are higher. | 0 | 0 | 5.31 | 8.5327 | 5.31 | 8.5726
55 | Short term Sales |  |  | 0 | -36.6427 | 0 | 0 | 0 | -225.1021 | 0 | -225.1021 |  | #DIV/0! | 0 | #DIV/0! | 6.1432 | #DIV/0! | 6.1432
56 | Purchase from SPDCL |  |  | 0 | 161.9083 | 0 | 0 | 0 | 924.653 | 0 | 924.653 |  | #DIV/0! | 0 | #DIV/0! | 5.711 | #DIV/0! | 5.711
57 | Purchase from CPDCL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
58 | Sale to SPDCL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
59 | Sale to CPDCL |  |  | 0 | -161.9083 | 0 | 0 | 0 | -924.653 | 0 | -924.653 |  | #DIV/0! | 0 | #DIV/0! | 5.711 | #DIV/0! | 5.711
60 | Swapping power to be returned |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
61 | TOTAL OTHERS |  |  | 874.61 | 1018.6121 | 0 | 0 | 4644.1791 | 8945.2651 | 4644.1791 | 8987.6837 |  | 0 | 0 | 5.31 | 8.7818 | 5.31 | 8.8235
62 | TRANSMISSION COST |  |  | 0 | 0 | 2830.6917 | 2830.6921 | 0 | 0 | 2830.6917 | 2830.6921 | The increase in APSLDC cost is to admission of 1st installment of SLDC Annual fee (Rs.73millions) and monthly operating charges(Rs.51.147 millions) anas per RSTO FY2023-24. | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
63 | SLDC COST |  |  | 0 | 0 | 63.3083 | 124.1493 | 0 | 0 | 63.3083 | 124.1493 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
64 | PGCIL |  |  | 0 | 0 | 1250 | 1133.6704 | 0 | 55.6696 | 1250 | 1189.34 | ThePGCIL charges include POC charges, SEIL-STOA charges, Market STOA charges, reactive charges and trader margins | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
65 | ULDC COST |  |  | 0 | 0 | 2.6417 | 0.5111 | 0 | 0 | 2.6417 | 0.5111 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
66 | TOTAL TRANSMISSION & ULDC CHARGES |  |  | 0 | 0 | 4146.6417 | 4089.0228 | 0 | 55.6696 | 4146.6417 | 4144.6924 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
67 | TOTAL |  |  | 6658.036 | 6791.703 | 11148.575 | 10360.1406 | 22993.9133 | 31239.7155 | 34142.4883 | 41735.9671 |  | 1.6745 | 1.5254 | 3.4536 | 4.5997 | 5.128 | 6.1451
68 | Past claims/refunds, if any, pertaining to the quarters(s) prior to the quarter for which FPPCA is being filed |  |  |  | 0 |  | 0 |  | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
69 | POWER PURCHASE FOR THE MONTH | 5783.43 | 7154.773 | 6658.036 | 6791.703 | 11148.575 | 10360.1406 | 22993.9133 | 31239.7155 | 34142.4883 | 41735.9671 |  | 1.6745 | 1.5254 | 3.4536 | 4.5997 | 5.128 | 6.1451

## APDISCOMS (hidden)
FPPCA FORMAT for the month of APRIL FY 23-24
S.No. | Generating station/ Stage/Source | Plant capacity (MW) | Energy (MU) |  |  | Cost Components (Rs.Millions) | [17 empty] | 10
[6 empty] | Fixed (A) |  |  | Variable (B) |  |  | Incentive (C) |  |  | Income Tax (D) |  |  | Others (E) |  |  | Total F=(A+B+C+D+E)
|  |  | TO (a) | Actual (b) | Variance (c)= (b-a) | TO (d) | Actual (e) | Variance (f)= (e-d) | TO (g) | Actual (h) | Variance (i)= (h-g) | TO (j) | Actual (k) | Variance (l)= (k-j) | TO (m) | Actual (n) | Variance (o)= (n-m) | TO (p) | Actual (q) | Variance (r)= (q-p) | TO (s) | Actual (t) | Variance (u)= (t-s)
1 | Dr. NTTPS | 1260 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
2 | Dr. NTTPS-IV | 500 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
3 | Dr. NTTPS-V | 500 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
4 | RTPP Stage-I | 420 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
5 | RTPP Stage-II | 420 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
6 | RTPP Stage-III | 210 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
7 | RTPP Stage-IV | 600 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
8 | GENCO THERMAL TOTAL | 3910 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
9 | Srisailam RCPH | 770 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
10 | NSRCPH | 90 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
11 | NSTPDC PH | 50 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
12 | Upper Sileru | 725 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
13 | Lower Sileru |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
14 | Donkarayi |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
15 | PABM | 20 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
16 | Minihydel(Chettipet) | 1 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
17 | Machkund AP Share | 141.6 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
18 | TB Dam AP Share |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
19 | GENCO HYDEL(INCLUDING INTERSTATE)TOTAL | 1797.6 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
20 | NTPC(SR) Ramagundam I & | 2100 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
21 | NTPC(SR) Simhadri Stage-I | 1000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
22 | NTPC(SR) Simhadri Stage-II | 1000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
23 | NTPC(SR) Talcher Stage-II | 2000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
24 | NTPC(SR) Ramagundam III | 500 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
25 | NTPC Kudgi Stage-I | 2400 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
26 | NTECL Valluru | 1500 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
27 | NLC Stage-I | 630 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
28 | NLC Stage-II | 840 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
29 | NPC(MAPS) | 440 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
30 | NPC(KAIGA unit I,II,III,IV) | 880 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
31 | NTPL(NLC TamilNadu) | 1000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
32 | NLC NNTPS | 1000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
33 | KKNPP Unit-I | 1000 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
34 | NLC TPS- I Expn. | 630 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
35 | NLC TPS- II Expn. | 840 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
36 | JNNSM Ph-1 Thermal |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
37 | CGS TOTAL | 17760 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
38 | NCE- Others | 152.66 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
39 | NCE Solar | 2466.426 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
40 | NCE WIND | 3688 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
41 | JNNSM PH 1 SOLAR | 39.2 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
42 | JNNSM PH 2 SOLAR | 1250 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
43 | NCE TOTAL | 7596.286 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
44 | APPDCL Stage-I | 1600 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
45 | APPDCL Stage-II | 600 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
46 | Godavari Gas Power Plant | 216 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
47 | TS NPDCL (TSPCC)
48 | JOINT SECTOR TOTAL | 2416 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
49 | Thermal Powertech Corporation (SEIL P1) | 230.55 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
48 | SEIL P 2 | 625 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
49 | HNPCL | 1040 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
50 | IPPs TOTAL | 1895.55 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
49 | UI CHARGES
50 | Short term purchases |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
51 | Short term Sales
52 | Swapping power to be returned |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
53 | TRANSMISSION COST |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
54 | SLDC COST |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
55 | PGCIL |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
56 | ULDC COST |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
57 | TOTAL TRANSMISSION & ULDC CHARGES |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
58 | TOTAL COST |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
59 | Past claims/refunds, if any, pertaining to the quarters(s) prior to the quarter for which FPPCA is being filed |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
60 | POWER PURCHASE FOR THE MONTH |  |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0

## SUMMARY-1 (hidden)
FPPCA SUMMARY FOR THE MONTH OF APRIL 2023
S.No. | Generating station/ Stage/Source | AVAILABILITY |  | DESPATCH |  | FC |  | VC |  | TC |  | BACKING DOWN
|  | TO (a) | Actual (b) | TO (a) | Actual (b) | TO (a) | Actual (b) | TO (a) | Actual (b) | TO (a) | Actual (b)
1 | Dr. NTTPS | 644 | [9 empty] | 0
2 | Dr. NTTPS-IV | 277 | [9 empty] | 0
3 | Dr. NTTPS-V | 0 | [9 empty] | 0
4 | RTPP Stage-I | 186 | [9 empty] | 0
5 | RTPP Stage-II | 219.71 | [9 empty] | 0
6 | RTPP Stage-III | 105.59 | [9 empty] | 0
7 | RTPP Stage-IV | 300.35 | [9 empty] | 0
8 | GENCO THERMAL TOTAL | [10 empty] | 0
9 | Srisailam RCPH | 43.06 | [9 empty] | 0
10 | NSRCPH | 1.06 | [9 empty] | 0
11 | NSTPDC PH | 0.99 | [9 empty] | 0
12 | Upper Sileru | 59.09 | [9 empty] | 0
13 | Lower Sileru | 105.25 | [9 empty] | 0
14 | Donkarayi | 7.35 | [9 empty] | 0
15 | PABM | 0 | [9 empty] | 0
16 | Minihydel(Chettipet) | 0.13 | [9 empty] | 0
17 | Machkund AP Share | 29.76 | [9 empty] | 0
18 | TB Dam AP Share | 2.85 | [9 empty] | 0
19 | GENCO HYDEL(INCLUDING INTERSTATE)TOTAL | [10 empty] | 0
20 | NTPC(SR) Ramagundam I & | 204.61 | [9 empty] | 0
21 | NTPC(SR) Simhadri Stage-I | 296.95 | [9 empty] | 0
22 | NTPC(SR) Simhadri Stage-II | 137.73 | [9 empty] | 0
23 | NTPC(SR) Talcher Stage-II | 113.42 | [9 empty] | 0
24 | NTPC(SR) Ramagundam III | 47.94 | [9 empty] | 0
25 | NTPC Kudgi Stage-I | 0 | [9 empty] | 0
26 | NTECL Valluru | 0 | [9 empty] | 0
27 | NLC Stage-I | 32.34 | [9 empty] | 0
28 | NLC Stage-II | 56.9 | [9 empty] | 0
29 | NPC(MAPS) | 4.16 | [9 empty] | 0
30 | NPC(KAIGA unit I,II,III,IV) | 53.39 | [9 empty] | 0
31 | NTPL(NLC TamilNadu) | 0 | [9 empty] | 0
32 | NLC NNTPS | 0 | [9 empty] | 0
33 | KKNPP Unit-I | 1.14 | [9 empty] | 0
34 | NLC TPS- I Expn. | 1.32 | [9 empty] | 0
35 | NLC TPS- II Expn. | 1.16 | [9 empty] | 0
36 | JNNSM Ph-1 Thermal | 25.34 | [9 empty] | 0
37 | CGS TOTAL | [10 empty] | 0
38 | NCE- Others | 25.81 | [9 empty] | 0
39 | NCE Solar | 423 | [9 empty] | 0
40 | NCE WIND | 342.2 | [9 empty] | 0
41 | JNNSM PH 1 SOLAR | 4.12 | [9 empty] | 0
42 | JNNSM PH 2 SOLAR | 209.64 | [9 empty] | 0
43 | NCE TOTAL | [10 empty] | 0
44 | APPDCL Stage-I | 692.88 | [9 empty] | 0
45 | APPDCL Stage-II | 0 | [9 empty] | 0
46 | Godavari Gas Power Plant | 44.55 | [9 empty] | 0
47 | JOINT SECTOR TOTAL | [10 empty] | 0
48 | Thermal Powertech Corporation (SEIL P1) | 142.67 | [9 empty] | 0
49 | SEIL P 2 | 375.03 | [9 empty] | 0
50 | HNPCL | 564.94 | [9 empty] | 0
51 | IPPs TOTAL | [10 empty] | 0
52 | Short term purchases | [10 empty] | 0
53 | Swapping power to be returned | [10 empty] | 0
54 | TRANSMISSION COST | [10 empty] | 0
55 | SLDC COST | [10 empty] | 0
56 | PGCIL | [10 empty] | 0
57 | ULDC COST | [10 empty] | 0
58 | TOTAL TRANSMISSION & ULDC CHARGES | [10 empty] | 0
59 | TOTAL COST | [10 empty] | 0
60 | Past claims/refunds, if any, pertaining to the quarters(s) prior to the quarter for which FPPCA is being filed | [10 empty] | 0
61 | POWER PURCHASE FOR THE MONTH | [10 empty] | 0

## Sheet1 (hidden)
| FC | VC | EX
NTPC (SR) Ramagundam I & II |  |  |  | 1000000
NTPC (SR) Simhadri Stage 1
NTPC (SR) Simhadri Stage 2
NTPC (SR) Talcher St. II
NTPC (SR) Ramagundam Stage-III
NTPC Kudgi Stage 1
NTECL Valluru
NLC Stage-I
NLC Stage-II
NPC (MAPS)
NPC (Kaiga Unit-I,II & III)
NTPL (NLC Tamilnadu Power Ltd Stage-1)
NLC NNTPS
NPCIL(Kudamkulam)
NLC TPS I EXP
NLC TPS II EXP
NVVL-THERMAL