## Availab 23-24 (hidden)
Availability of Generating Stations during FY2023-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | APRIL |  | May |  | June
|  |  | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU | % Availabilties communicated by APSLDC | Availability in MU
Dr. NTTPS | 1260 | 9 | 87.29 | 720.6243 | 87.49 | 746.3513
Dr. NTTPS-IV | 500 | 7.5 | 88.22 | 293.7726 | 81.14 | 279.2027
RTPP Stage-I | 420 | 9 | 72.34 | 199.0681 | 75.63 | 215.059
RTPP Stage-II | 420 | 9 | 98.03 | 269.7629 | 94.19 | 267.8357
RTPP Stage-III | 210 | 9 | 82.15 | 113.0318 | 80.3 | 114.1693
RTPP Stage-IV | 600 | 5.75 | 68.27 | 277.9681 | 77.4 | 325.6466
Srisailam RCPH | 770 | 1 | 100 | 548.856
NSRCPH | 90 | 1 | 100 | 64.152
NSTPDC PH | 50 | 1 | 100 | 35.64
Upper Sileru | 240 | 1 | 100 | 171.072
Lower Sileru | 460 | 1 | 100 | 327.888
Donkarayi | 25 | 1 | 100 | 17.82
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH
Minihydel(Chettipet)* | 1 | 1 | 100 | 0.7128
Machkund AP Share* | 60 | 1 | TO BE TAKEN SAME AS DESPATCH
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH
APPDCL Stage-I | 1600 | 6.5 | 56.7 | 610.727 | 64.5 | 717.9005
APPDCL Stage-II | 800 | 5.75 | 68.09 | 369.647 | 66.43 | 372.6564
HNPCL | 1040 | 5.75 | 56.75 | 400.5097 | 72.63 | 529.6679
SEMBCORP-P1 | 230.55 | - | 96.25 | 159.7686
SEMBCORP-P2 | 625 | - | TO BE TAKEN SAME AS DESPATCH

## Apr-24
Availability of Generating Stations during April-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | April
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 81.38 | 671.8342 | 624.0363 | 75.5902 | 47.7979
Dr. NTTPS-IV | 500 | 7.5 | 82.85 | 275.8905 | 267.3935 | 80.2983 | 8.497
Dr. NTTPS-V | 800 | 5.75 | 54.84 | 297.7154 | 290.6329 | 53.5354 | 7.0825
RTPP Stage-I | 420 | 9 | 73.79 | 203.0583 | 193.5079 | 70.3195 | 9.5504
RTPP Stage-II | 420 | 9 | 96.43 | 265.3599 | 245.1731 | 89.0942 | 20.1868
RTPP Stage-III | 210 | 9 | 91.72 | 126.1994 | 117.3433 | 85.2835 | 8.8561
RTPP Stage-IV | 600 | 5.75 | 72.13 | 293.6845 | 277.454 | 68.1437 | 16.2305
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.263 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.036591 | - | -
NSTPDC PH | 50 | 1 | 100 | 35.64 | 0.4533 | 1.2719 | -
Upper Sileru | 240 | 1 | 100 | 171.072 | 49.9879 | 29.2204 | -
Lower Sileru | 460 | 1 | 99.17 | 325.1665 | 97.597 | 29.7654 | -
Donkarayi | 25 | 1 | 100 | 17.82 | 9.7151 | 54.5179 | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.025748 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.17685 | 24.8106 | 0.53595
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 12.948 | 30.275 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 0.8018 | 1.9529 | -
APPDCL Stage-I | 1600 | 6.5 | 55.67 | 599.6327 | 586.962 | 54.4936 | 12.6707
APPDCL Stage-II | 800 | 5.75 | 63.08 | 342.4487 | 336.3785 | 61.9619 | 6.0702
HNPCL | 1040 | 5.75 | 71.45 | 504.2541 | 488.4231 | 69.2068 | 15.831
SEIL P1 (230MW) | 230.55 | 5 | 95.783 | 158.9959 | 157.1601 | 94.677 | 1.8358
SEIL P2 (500MW Firm) | 500 | 5 | 72.2639 | 260.15 | 260.0877 | 72.2466
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 93.2644 | 83.938 | 47.0062 | 52.2291 | -
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 96.923 | 178.9071 | 174.4867 | 90.4276 | 4.4204
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 93.137 | 43.632 | 42.5156 | 86.8838 | 1.1164
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 90.994 | 108.7762 | 107.8857 | 88.1328 | 0.89048
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 99.191 | 311.0703 | 290.2302 | 92.2647 | 20.8401
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 100 | 142.4775 | 130.7071 | 88.5586 | 11.7704
NTPC Kudgi Stage-I | 224 | 5.75 | 99.958 | 135.7878 | 112.8313 | 74.228 | 22.9565
NTECL Valluru | 86.45 | 5.75 | 54.909 | 31.959 | 30.7743 | 52.4577 | 1.1847
NLC Stage-I | 46.88 | 10 | 73.055 | 22.1652 | 22.1048 | 72.7653 | 0.060349
NLC Stage-II | 85.83 | 10 | 79.36 | 44.0957 | 43.9424 | 79.0077 | 0.15334
NLC TPS- I Expn. | 2.24 | 9 | 89.877 | 1.3034 | 1.2949 | 88.2301 | 0.0085059
NLC TPS- II Expn. | 2.67 | 12.5 | 32.7 | 0.54284 | 0.54153 | 32.194 | 0.0013014
NLC NNTPS | 52.71 | 5.75 | 103.392 | 36.9262 | 36.7104 | 102.6318 | 0.21578
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 80.45 | 66.5182 | 65.1956 | 78.5781 | 1.3226
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 69.405 | 0.81386 | 0.97413 | 9.361 | -0.16028 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
1000000

## May-24
Availability of Generating Stations during May-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | May
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 84.55 | 721.271 | 667.767 | 78.2781 | 53.504
Dr. NTTPS-IV | 500 | 7.5 | 83.03 | 285.7062 | 255.998 | 74.3964 | 29.7082
Dr. NTTPS-V | 800 | 5.75 | 32.86 | 184.3367 | 180.4309 | 32.1638 | 3.9058
RTPP Stage-I | 420 | 9 | 74.06 | 210.5946 | 195.8474 | 68.8738 | 14.7472
RTPP Stage-II | 420 | 9 | 98.7 | 280.6602 | 233.478 | 82.1074 | 47.1822
RTPP Stage-III | 210 | 9 | 86.03 | 122.3161 | 106.7246 | 75.0639 | 15.5915
RTPP Stage-IV | 600 | 5.75 | 73.59 | 309.6167 | 277.244 | 65.8956 | 32.3727
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2623 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.042241 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | -0.0835 | -0.22673 | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 20.3662 | 11.521 | -
Lower Sileru | 460 | 1 | 95.16 | 322.4188 | 78.6236 | 23.2053 | -
Donkarayi | 25 | 1 | 100 | 18.414 | 7.4945 | 40.7 | -
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.021997 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.0783 | 10.6305 | 0.65826
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 15.1344 | 34.2457 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2722 | -0.64159 | -
APPDCL Stage-I | 1600 | 6.5 | 61.16 | 680.7255 | 657.014 | 59.0296 | 23.7115
APPDCL Stage-II | 800 | 5.75 | 74.68 | 418.9369 | 398.405 | 71.02 | 20.5319
HNPCL | 1040 | 5.75 | 54.26 | 395.7013 | 380.7573 | 52.2108 | 14.944
SEIL P1 (230MW) | 230.55 | 5 | 99.1 | 169.9789 | 150.7957 | 92.5395 | 19.1832
SEIL P2 (500MW Firm) | 500 | 5 | 97.81 | 363.8532 | 348.138 | 98.511
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 97.39 | 90.5727 | 34.202 | 38.7119 | -
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 94.703 | 181.8513 | 152.8291 | 76.6486 | 29.0223
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 79.84 | 38.8511 | 33.1336 | 65.5267 | 5.7175
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 97.352 | 118.9998 | 107.8794 | 85.2848 | 11.1205
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 99.9 | 324.4441 | 270.1368 | 83.1068 | 54.3073
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 100 | 149.2358 | 118.445 | 77.6618 | 30.7908
NTPC Kudgi Stage-I | 224 | 5.75 | 95.553 | 140.756 | 100.7853 | 64.1645 | 39.9707
NTECL Valluru | 86.45 | 5.75 | 64.003 | 38.7159 | 30.7213 | 50.6782 | 7.9946
NLC Stage-I | 46.88 | 10 | 68.848 | 21.6025 | 21.3907 | 68.1432 | 0.21175
NLC Stage-II | 85.83 | 10 | 70.816 | 40.6799 | 40.1411 | 69.8448 | 0.5388
NLC TPS- I Expn. | 2.24 | 9 | 99.502 | 1.5279 | 1.4392 | 94.898 | 0.088686
NLC TPS- II Expn. | 2.67 | 12.5 | 35.919 | 0.61966 | 0.60135 | 34.5969 | 0.018304
NLC NNTPS | 52.71 | 5.75 | 102.837 | 38.0387 | 35.2978 | 95.4993 | 2.741
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 80.144 | 68.7565 | 62.1582 | 72.5005 | 6.5983
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 99.612 | 1.3411 | 1.393 | 12.9543 | -0.051881 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.

## Jun-24
Availability of Generating Stations during June-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | June
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 81.17 | 670.1006 | 602.2276 | 72.9485 | 67.873
Dr. NTTPS-IV | 500 | 7.5 | 83.89 | 279.3537 | 231.7385 | 69.5911 | 47.6152
Dr. NTTPS-V | 800 | 5.75 | 59.05 | 320.5706 | 319.186 | 58.795 | 1.3846
RTPP Stage-I | 420 | 9 | 47.84 | 131.648 | 120.9605 | 43.9562 | 10.6875
RTPP Stage-II | 420 | 9 | 96.29 | 264.9747 | 208.1718 | 75.6482 | 56.8029
RTPP Stage-III | 210 | 9 | 82.89 | 114.05 | 102.4913 | 74.4893 | 11.5587
RTPP Stage-IV | 600 | 5.75 | 67.83 | 276.1766 | 236.484 | 58.0813 | 39.6926
Srisailam RCPH | 770 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2386 | - | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.039855 | - | -
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.0757 | -0.2124 | -
Upper Sileru | 240 | 1 | 100 | 171.072 | 28.762 | 16.8128 | 142.31
Lower Sileru | 460 | 1 | 99.17 | 325.1665 | 55.8293 | 17.0269 | 269.3372
Donkarayi | 25 | 1 | 90.48 | 16.1235 | 5.7356 | 32.1863 | 10.3879
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.021955 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.2536 | 35.578 | 0.4592
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 16.0518 | 37.5323 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.2442 | -0.59478 | -
APPDCL Stage-I | 1600 | 6.5 | 59.39 | 639.7016 | 606.114 | 56.2717 | 33.5876
APPDCL Stage-II | 800 | 5.75 | 70.62 | 383.3819 | 376.6015 | 69.371 | 6.7804
HNPCL | 1040 | 5.75 | 29.9 | 211.0175 | 164.8002 | 23.3513 | 46.2173
SEIL P1 (230MW) | 230.55 | 5 | 96.0217 | 159.3922 | 130.5134 | 78.6244 | 28.8787
SEIL P2 (500MW Firm) | 500 | 5 | 96 | 345.6 | 322.5507 | 89.5974 | 23.0493
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 100 | 90 | 27.5193 | 30.577 | 62.4807
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 98.894 | 180.0754 | 136.6937 | 70.8414 | 43.3818
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 99.049 | 45.9009 | 35.0266 | 71.5795 | 10.8743
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 90.985 | 108.3456 | 80.7002 | 65.9247 | 27.6455
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 100 | 314.2213 | 255.1178 | 81.1024 | 59.1035
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 71.205 | 102.7578 | 80.5563 | 54.5796 | 22.2015
NTPC Kudgi Stage-I | 224 | 5.75 | 100 | 139.493 | 82.18 | 54.0635 | 57.313
NTECL Valluru | 86.45 | 5.75 | 76.642 | 44.4445 | 33.8697 | 57.7342 | 10.5748
NLC Stage-I | 46.88 | 10 | 50.068 | 15.0989 | 14.9664 | 49.2668 | 0.13247
NLC Stage-II | 85.83 | 10 | 50.305 | 27.8201 | 27.4736 | 49.397 | 0.34657
NLC TPS- I Expn. | 2.24 | 9 | 100.056 | 1.2363 | 1.1279 | 76.8498 | 0.10838
NLC TPS- II Expn. | 2.67 | 12.5 | 42.849 | 0.60334 | 0.60775 | 36.1303 | -0.0044127 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
NLC NNTPS | 52.71 | 5.75 | 81.316 | 29.0197 | 26.2337 | 73.3419 | 2.7861
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 79.416 | 65.0239 | 48.0211 | 57.8783 | 17.0028
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 91.813 | 0.90715 | 0.88829 | 8.5361 | 0.018857
1000000

## July-24
Availability of Generating Stations during July-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | July
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 61.79 | 527.1122 | 497.129 | 58.2753 | 29.9832
Dr. NTTPS-IV | 500 | 7.5 | 76.04 | 261.6536 | 212.3005 | 61.6973 | 49.3531
Dr. NTTPS-V | 800 | 5.75 | 42.59 | 238.9197 | 236.5027 | 42.1592 | 2.4169
RTPP Stage-I | 420 | 9 | 46.62 | 132.5671 | 90.9348 | 31.9791 | 41.6323
RTPP Stage-II | 420 | 9 | 79.02 | 224.6987 | 174.9496 | 61.5247 | 49.7491
RTPP Stage-III | 210 | 9 | 77.15 | 109.6906 | 97.8783 | 68.8419 | 11.8123
RTPP Stage-IV | 600 | 5.75 | 62.41 | 262.5788 | 227.168 | 53.9935 | 35.4108
Srisailam RCPH | 770 | 1 | 92.21 | 522.9701 | 83.5071 | 14.724 | -
NSRCPH | 90 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.033454 | - | -
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.0682 | - | -
Upper Sileru | 240 | 1 | 79.57 | 140.6594 | 29.6109 | 16.7507 | 111.0485
Lower Sileru | 460 | 1 | 94.35 | 319.6744 | 97.2644 | 28.707 | 222.41
Donkarayi | 25 | 1 | 100 | 18.414 | 7.3064 | 39.6783 | 11.1076
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.023227 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.19195 | 26.0603 | 0.54461
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 17.9922 | 40.7122 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 9.5515 | 22.5134 | -
APPDCL Stage-I | 1600 | 6.5 | 60.89 | 677.7203 | 642.675 | 57.7413 | 35.0453
APPDCL Stage-II | 800 | 5.75 | 0 | 0 | -3.7035 | - | 3.7035
HNPCL | 1040 | 5.75 | 44.93 | 327.6605 | 275.0571 | 37.7168 | 52.6034
SEIL P1 (230MW) | 230.55 | 5 | 100 | 171.5292 | 150.7099 | 87.8625 | 20.8193
SEIL P2 (500MW Firm) | 500 | 5 | 78.9 | 293.508 | 279.5322 | 75.1431 | 13.9758
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 0 | 0 | 0 | 0 | 0
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 85.047 | 160.036 | 104.7206 | 52.5207 | 55.3154
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 100.011 | 47.9056 | 33.7019 | 66.6507 | 14.2037
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 71.548 | 87.3776 | 83.8419 | 66.2818 | 3.5357
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 100 | 324.1596 | 249.7929 | 76.848 | 74.3667
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 38 | 56.8409 | 39.6314 | 25.9855 | 17.2095
NTPC Kudgi Stage-I | 224 | 5.75 | 63.181 | 91.0815 | 42.4872 | 27.0493 | 48.5942
NTECL Valluru | 86.45 | 5.75 | 96.846 | 57.7374 | 39.187 | 64.6433 | 18.5503
NLC Stage-I | 46.88 | 10 | 58.101 | 18.022 | 17.5517 | 55.9134 | 0.47035
NLC Stage-II | 85.83 | 10 | 45.954 | 26.1912 | 25.5356 | 44.4315 | 0.65566
NLC TPS- I Expn. | 2.24 | 9 | 97.941 | 1.1057 | 1.0153 | 66.9491 | 0.090324
NLC TPS- II Expn. | 2.67 | 12.5 | 35.19 | 0.45703 | 0.45253 | 26.035 | 0.0044964 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
NLC NNTPS | 52.71 | 5.75 | 51.981 | 19.1691 | 17.852 | 48.2992 | 1.3171
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 92.632 | 78.3012 | 55.8599 | 65.1543 | 22.4413
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 83.015 | 0.75442 | 0.42448 | 3.9474 | 0.32995
1000000

## Aug-24
Availability of Generating Stations during August-FY2024-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | July
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 59.94 | 511.3304 | 471.746 | 55.2998 | 39.5844
Dr. NTTPS-IV | 500 | 7.5 | 67.62 | 232.6804 | 201.4845 | 58.5541 | 31.1959
Dr. NTTPS-V | 800 | 5.75 | 11.27 | 63.222 | 63.7786 | 11.3692 | -
RTPP Stage-I | 420 | 9 | 62.04 | 176.415 | 161.6709 | 56.8549 | 14.7441
RTPP Stage-II | 420 | 9 | 61.86 | 175.9031 | 115.4563 | 40.6026 | 60.4468
RTPP Stage-III | 210 | 9 | 74.03 | 105.2547 | 105.1187 | 73.9344 | 0.13597
RTPP Stage-IV | 600 | 5.75 | 55.04 | 231.5709 | 212.497 | 50.5065 | 19.0739
Srisailam RCPH | 770 | 1 | 95.98 | 544.3517 | 378.4273 | 66.7242 | -
NSRCPH | 90 | 1 | 100 | 66.2904 | 35.4634 | - | -
NSTPDC PH | 50 | 1 | 100 | 36.828 | 20.633 | - | -
Upper Sileru | 240 | 1 | 80.65 | 142.5686 | 44.1811 | 24.9929 | 98.3874
Lower Sileru | 460 | 1 | 100 | 338.8176 | 111.0766 | 32.7836 | 227.741
Donkarayi | 25 | 1 | 100 | 18.414 | 13.8642 | 75.2919 | 4.5498
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.028759 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.08716 | 11.8334 | 0.6494
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 21.1368 | 47.8277 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 26.4711 | 62.3938 | -
APPDCL Stage-I | 1600 | 6.5 | 46.42 | 516.6657 | 490.706 | 44.0876 | 25.9597
APPDCL Stage-II | 800 | 5.75 | 80.78 | 453.1564 | 428.273 | - | 24.8834
HNPCL | 1040 | 5.75 | 32.6 | 237.7416 | 233.1238 | 31.9668 | 4.6178
SEIL P1 (230MW) | 230.55 | 5 | 99.96 | 171.4606 | 159.4492 | 92.9575 | 12.0114
SEIL P2 (500MW Firm) | 500 | 5 | 94.31 | 350.8332 | 336.5691 | 90.4756 | 14.2641
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 94.89 | 88.2477 | 39.6009 | 42.5816 | 48.6468
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 76.866 | 145.7174 | 108.0165 | 54.1737 | 37.7009
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 100.001 | 48.2269 | 38.7178 | 76.5705 | 9.509
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 90.677 | 111.4128 | 107.3098 | 84.8346 | 4.103
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 98.387 | 319.5482 | 279.1743 | 85.8871 | 40.3739
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 85.391 | 128.2526 | 109.0727 | 71.5166 | 19.1799
NTPC Kudgi Stage-I | 224 | 5.75 | 78.934 | 115.3319 | 63.5436 | 40.4547 | 51.7883
NTECL Valluru | 86.45 | 5.75 | 94.169 | 56.2702 | 44.7221 | 73.7739 | 11.5481
NLC Stage-I | 46.88 | 10 | 39.993 | 12.4238 | 12.2248 | 38.9438 | 0.19898
NLC Stage-II | 85.83 | 10 | 61.225 | 34.8811 | 34.177 | 59.4674 | 0.70413
NLC TPS- I Expn. | 2.24 | 9 | 100 | 1.1346 | 1.0861 | 71.6151 | 0.048491
NLC TPS- II Expn. | 2.67 | 12.5 | 15.185 | 0.19277 | 0.18902 | 10.8749 | 0.003741
NLC NNTPS | 52.71 | 5.75 | 56.022 | 20.675 | 19.7683 | 53.4837 | 0.90676
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 99.773 | 84.5625 | 63.3941 | 73.9421 | 21.1684
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 99.46 | 0.88156 | 1.1273 | 10.483 | -0.2457 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.
1000000

## Sep-24
Availability of Generating Stations during September-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | July
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 59.6 | 492.029 | 457.702 | 55.4419 | 34.327
Dr. NTTPS-IV | 500 | 7.5 | 0 | 0 | -2.28 | - | 2.28
Dr. NTTPS-V | 800 | 5.75 | 0 | 0 | -2.3902 | - | -
RTPP Stage-I | 420 | 9 | 74.61 | 205.3148 | 152.6006 | 55.454 | 52.7142
RTPP Stage-II | 420 | 9 | 90.31 | 248.5187 | 200.3757 | 72.8152 | 48.143
RTPP Stage-III | 210 | 9 | 77.28 | 106.3311 | 105.7429 | 76.8525 | 0.5882
RTPP Stage-IV | 600 | 5.75 | 60.19 | 245.0696 | 220.489 | 54.1529 | 24.5806
Srisailam RCPH | 770 | 1 | 100 | 548.856 | 306.7777 | 55.894 | -
NSRCPH | 90 | 1 | 100 | 64.152 | 35.8182 | 55.8333 | -
NSTPDC PH | 50 | 1 | 100 | 35.64 | 22.3601 | 62.7388 | -
Upper Sileru | 240 | 1 | 80 | 136.8576 | 57.0266 | 33.3349 | 79.831
Lower Sileru | 460 | 1 | 99.17 | 325.1665 | 107.089 | 32.6602 | 218.0775
Donkarayi | 25 | 1 | 100 | 17.82 | 12.7568 | 71.5869 | 5.0632
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.020073 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.03456 | 4.8485 | 0.67824
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 17.691 | 41.365 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 26.8596 | 65.4198 | -
APPDCL Stage-I | 1600 | 6.5 | 58.81 | 633.4543 | 585.726 | 54.3789 | 47.7283
APPDCL Stage-II | 800 | 5.75 | 55.27 | 300.0498 | 280.0385 | 51.5839 | 20.0113
HNPCL | 1040 | 5.75 | 38.94 | 274.8167 | 269.8878 | 38.2416 | 4.9289
SEIL P1 (230MW) | 230.55 | 5 | 100 | 165.996 | 149.6844 | 90.1735 | 16.3116
SEIL P2 (500MW Firm) | 500 | 5 | 100 | 360 | 342.6848 | 95.1902 | 17.3152
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 100 | 90 | 36.0352 | 40.0392 | 53.9648
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 86.564 | 158.32 | 100.4032 | 52.0339 | 57.9168 |  | 1000000
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 99.892 | 46.5695 | 31.3151 | 63.9947 | 15.2544
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 89.606 | 107.7494 | 94.2826 | 77.0203 | 13.4668
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 90.997 | 283.0862 | 217.4018 | 69.1124 | 65.6845
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 95.026 | 136.4504 | 107.2243 | 72.6482 | 29.2262
NTPC Kudgi Stage-I | 224 | 5.75 | 87.238 | 122.6997 | 52.6594 | 34.6429 | 70.0403
NTECL Valluru | 86.45 | 5.75 | 84.768 | 49.036 | 32.1932 | 54.8763 | 16.8428
NLC Stage-I | 46.88 | 10 | 61.28 | 18.4425 | 17.2558 | 56.8032 | 1.1867
NLC Stage-II | 85.83 | 10 | 43.743 | 24.1673 | 22.5009 | 40.4563 | 1.6664
NLC TPS- I Expn. | 2.24 | 9 | 88.587 | 1.0336 | 0.96122 | 65.4936 | 0.072401
NLC TPS- II Expn. | 2.67 | 12.5 | 23.291 | 0.31254 | 0.29944 | 17.8016 | 0.013102
NLC NNTPS | 52.71 | 5.75 | 87.946 | 31.4216 | 28.6391 | 80.0669 | 2.7825
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 94.267 | 77.2415 | 46.727 | 56.3186 | 30.5144
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 94.702 | 0.8749 | 0.68104 | 6.5445 | 0.19386
1000000

## oct-24
Availability of Generating Stations during October-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | October
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 77.47 | 660.8736 | 616.819 | 74.7159 | 44.0546
Dr. NTTPS-IV | 500 | 7.5 | 72.97 | 251.0898 | 189.22 | 56.8228 | 61.8698
Dr. NTTPS-V | 800 | 5.75 | 55.4 | 310.7807 | 293.5697 | 54.0764 | 17.211
RTPP Stage-I | 420 | 9 | 68.75 | 195.4953 | 169.4571 | 61.5796 | 26.0382
RTPP Stage-II | 420 | 9 | 83.14 | 236.4142 | 161.3641 | 58.6386 | 75.0501
RTPP Stage-III | 210 | 9 | 32.01 | 45.5113 | 41.2668 | 29.9922 | 4.2445
RTPP Stage-IV | 600 | 5.75 | 64.6 | 271.7929 | 241.985 | 59.4324 | 29.8079
Srisailam RCPH | 770 | 1 | 100 | 567.1512 | 349.0091 | 63.5885 | 218.1421
NSRCPH | 90 | 1 | 100 | 66.2904 | 26.3226 | 41.0316 | 39.9678
NSTPDC PH | 50 | 1 | 100 | 36.828 | 28.2229 | 79.1888 | 8.6051
Upper Sileru | 240 | 1 | 73.39 | 129.7347 | 64.0533 | 37.4423 | 65.6814
Lower Sileru | 460 | 1 | 98.39 | 333.3626 | 112.4779 | 34.3038 | 220.8847
Donkarayi | 25 | 1 | 100 | 18.414 | 15.0629 | 84.528 | 3.3511
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.030987 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.32775 | 45.9806 | 0.40881
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 23.6988 | 55.4125 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 24.9884 | 60.8623 | -
APPDCL Stage-I | 1600 | 6.5 | 54.05 | 601.5895 | 591.324 | 54.8986 | 10.2655
APPDCL Stage-II | 800 | 5.75 | 60.17 | 337.5393 | 318.676 | 58.701 | 18.8633
HNPCL | 1040 | 5.75 | 65.09 | 474.6811 | 439.2193 | 62.2349 | 35.4618
SEIL P1 (230MW) | 230.55 | 5 | 100 | 171.5292 | 155.584 | 93.7276 | 15.9452
SEIL P2 (500MW Firm) | 500 | 5 | 77.7 | 289.044 | 278.0339 | 77.2316 | 11.0101
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 99.4 | 92.442 | 39.3461 | 43.7179 | 53.0959
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 86.847 | 165.9936 | 99.3197 | 51.4723 | 66.6739
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 99.94 | 48.4813 | 29.5569 | 60.4018 | 18.9244
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 94.297 | 116.1648 | 111.0116 | 90.6863 | 5.1532
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 83.445 | 268.3735 | 207.7572 | 66.0464 | 60.6163
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 100 | 149.0209 | 108.1384 | 73.2675 | 40.8825
NTPC Kudgi Stage-I | 224 | 5.75 | 100 | 147.0038 | 51.1591 | 33.6559 | 95.8446
NTECL Valluru | 86.45 | 5.75 | 92.476 | 55.7254 | 38.6911 | 65.9527 | 17.0343
NLC Stage-I | 46.88 | 10 | 55.35 | 17.2738 | 16.357 | 53.8445 | 0.9168
NLC Stage-II | 85.83 | 10 | 41.648 | 23.8331 | 22.1133 | 39.7594 | 1.7198
NLC TPS- I Expn. | 2.24 | 9 | 93.241 | 1.2302 | 1.129 | 76.9248 | 0.10125
NLC TPS- II Expn. | 2.67 | 12.5 | 29.656 | 0.44983 | 0.42683 | 25.3751 | 0.022996
NLC NNTPS | 52.71 | 5.75 | 102.937 | 38.018 | 34.863 | 97.4671 | 3.155
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 100 | 85.3118 | 46.7506 | 56.3469 | 38.5613
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 100 | 1.0656 | 0.74651 | 7.1736 | 0.31913
1000000

## NOV-24
Availability of Generating Stations during November-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | November
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 79.72 | 658.1301 | 637.6407 | 77.2381 | 20.4894
Dr. NTTPS-IV | 500 | 7.5 | 99.73 | 332.1009 | 308.642 | 92.6853 | 23.4589
Dr. NTTPS-V | 800 | 5.75 | 47.82 | 259.6052 | 253.3667 | 46.6709 | 6.2385
RTPP Stage-I | 420 | 9 | 74.25 | 204.3241 | 185.4603 | 67.395 | 18.8638
RTPP Stage-II | 420 | 9 | 86.08 | 236.8784 | 204.024 | 74.1409 | 32.8544
RTPP Stage-III | 210 | 9 | 78.5 | 108.0097 | 94.9509 | 69.009 | 13.0588
RTPP Stage-IV | 600 | 5.75 | 43.49 | 177.0739 | 168.577 | 41.4031 | 8.4969
Srisailam RCPH | 770 | 1 | 100 | 548.856 | 23.5223 | 4.2857 | 525.3337
NSRCPH | 90 | 1 | 100 | 64.152 | 31.2157 | 48.6589 | 32.9363
NSTPDC PH | 50 | 1 | 100 | 35.64 | 13.6967 | 38.4307 | 21.9433
Upper Sileru | 240 | 1 | 90 | 153.9648 | 39.0317 | 22.8159 | 114.9331
Lower Sileru | 460 | 1 | 96.11 | 315.1332 | 111.0776 | 33.8767 | 204.0556
Donkarayi | 25 | 1 | 100 | 17.82 | 14.9843 | 84.0871 | 2.8357
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.030061 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.7128 | 0.22591 | 31.6933 | 0.48689
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 29.574 | 69.1498 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 14.952 | 36.4174 | -
APPDCL Stage-I | 1600 | 6.5 | 53.96 | 581.214 | 575.925 | 53.469 | 5.289
APPDCL Stage-II | 800 | 5.75 | 45.78 | 248.5305 | 237.0665 | 43.6683 | 11.464
HNPCL | 1040 | 5.75 | 48.62 | 343.1327 | 336.4928 | 47.6792 | 6.6399
SEIL P1 (230MW) | 230.55 | 5 | 99.79 | 165.6474 | 165.3701 | 99.623 | 0.27727
SEIL P2 (500MW Firm) | 500 | 5 | 90.39 | 325.404 | 325.2356 | 90.3432 | 0.1684
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 90.3 | 81.27 | 50.2744 | 55.8604 | 30.9956
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 97.539 | 179.067 | 159.8531 | 82.8437 | 19.2139
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 16.446 | 7.7262 | 6.4357 | 13.1519 | 1.2905
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 97.422 | 116.6058 | 116.5138 | 95.1812 | 0.092036
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 59.135 | 184.0493 | 181.7272 | 57.7714 | 2.322
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 100 | 143.9033 | 139.1954 | 94.3097 | 4.7078
NTPC Kudgi Stage-I | 224 | 5.75 | 75.915 | 105.6778 | 54.0283 | 35.5435 | 51.6494
NTECL Valluru | 86.45 | 5.75 | 85.739 | 49.5802 | 48.0795 | 81.9561 | 1.5007
NLC Stage-I | 46.88 | 10 | 49.03 | 14.6877 | 14.6514 | 48.2301 | 0.036302
NLC Stage-II | 85.83 | 10 | 43.286 | 23.8347 | 23.8302 | 42.8464 | 0.0045162
NLC TPS- I Expn. | 2.24 | 9 | 51.479 | 0.5284 | 0.52448 | 35.7362 | 0.0039182
NLC TPS- II Expn. | 2.67 | 12.5 | 22.09 | 0.2672 | 0.26599 | 15.8132 | 0.0012066
NLC NNTPS | 52.71 | 5.75 | 92.88 | 33.1718 | 33.0612 | 92.4298 | 0.1106
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 85.424 | 70.0364 | 61.6481 | 74.3024 | 8.3883
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 100 | 0.81642 | 1.3128 | 12.6153 | -0.49637
1000000

## Dec-24
Availability of Generating Stations during December-24
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | December
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS (I to III) | 1260 | 9 | 73.09 | 623.5092 | 601.317 | 70.4886 | 22.1922
Dr. NTTPS-IV | 500 | 7.5 | 89.29 | 307.2469 | 277.392 | 80.6138 | 29.8549
Dr. NTTPS-V | 800 | 5.75 | 72.12 | 404.5759 | 400.2601 | 71.3507 | 4.3158
RTPP Stage-I | 420 | 9 | 78.03 | 221.8836 | 198.6937 | 69.8748 | 23.1899
RTPP Stage-II | 420 | 9 | 95.52 | 271.6176 | 217.8942 | 76.627 | 53.7234
RTPP Stage-III | 210 | 9 | 87.31 | 124.136 | 104.9673 | 73.8279 | 19.1687
RTPP Stage-IV | 600 | 5.75 | 18.07 | 76.0263 | 66.673 | 15.8469 | 9.3533
Srisailam RCPH | 770 | 1 | 100 | 567.1512 | -0.2071 | -0.036516 | 567.3583
NSRCPH | 90 | 1 | 100 | 66.2904 | 36.9761 | 55.7789 | 29.3143
NSTPDC PH | 50 | 1 | 100 | 36.828 | 3.9518 | 10.7304 | 32.8762
Upper Sileru | 240 | 1 | 100 | 176.7744 | 25.3291 | 14.3285 | 151.4453
Lower Sileru | 460 | 1 | 95.7 | 324.2484 | 101.0197 | 29.8154 | 223.2288
Donkarayi | 25 | 1 | 67.74 | 12.4736 | 9.5725 | 51.9852 | 2.9011
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.030277 | -0.20553 | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.32414 | 44.0073 | 0.41242
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 23.9754 | 54.2508 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 13.2389 | 31.2048 | -
APPDCL Stage-I | 1600 | 6.5 | 44.6 | 496.4087 | 489.106 | 43.9439 | 7.3027
APPDCL Stage-II | 800 | 5.75 | 79.98 | 448.6686 | 446.4135 | 79.578 | 2.2551
HNPCL | 1040 | 5.75 | 28.29 | 206.3101 | 206.5719 | 28.3259 | -0.26176
SEIL P1 (230MW) | 230.55 | 5 | 99.42 | 170.5343 | 169.7803 | 104.1899 | 0.75399
SEIL P2 (500MW Firm) | 500 | 5 | 90.71 | 337.4412 | 335.7542 | 95.0068 | 1.687
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 88.56 | 78.2428 | 47.1058 | 53.3173 | 31.137
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 287.18 | 6.68 | 86.105 | 161.9641 | 149.1691 | 74.813 | 12.7949
NTPC(SR) Ramagundam III | 72.11 | 5.75 | 48.385 | 23.3174 | 22.0422 | 43.5918 | 1.2752
NTPC(SR) Talcher Stage-II | 180.39 | 5.75 | 91.39 | 112.0197 | 111.7019 | 88.3067 | 0.31784
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 49.735 | 159.9529 | 155.3029 | 47.7785 | 4.6499
NTPC(SR) Simhadri Stage-II | 216.35 | 5.25 | 95.926 | 142.1201 | 136.497 | 89.4982 | 5.6231
NTPC Kudgi Stage-I | 224 | 5.75 | 75.515 | 105.557 | 65.083 | 41.4348 | 40.474
NTECL Valluru | 86.45 | 5.75 | 81.565 | 48.3269 | 46.1733 | 76.1679 | 2.1536
NLC Stage-I | 46.88 | 10 | 24.715 | 7.6089 | 7.5618 | 24.0891 | 0.047107
NLC Stage-II | 85.83 | 10 | 31.825 | 18.0383 | 17.9546 | 31.2408 | 0.083627
NLC TPS- I Expn. | 2.24 | 9 | 49.843 | 0.44504 | 0.44308 | 29.2163 | 0.0019534
NLC TPS- II Expn. | 2.67 | 12.5 | 6.108 | 0.061036 | 0.060928 | 3.5053 | 0.00010833
NLC NNTPS | 52.71 | 5.75 | 73.182 | 26.9926 | 26.9691 | 72.9658 | 0.023461
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 46.477 | 38.9558 | 31.7194 | 36.9971 | 7.2364
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 100 | 0.66603 | 1.4437 | 13.4257 | -0.77767 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.

## JAN 25
Availability of Generating Stations during January-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | December
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS (I to III) | 1260 | 9 | 75.86 | 647.1392 | 610.256 | 71.5364 | 36.8832
Dr. NTTPS-IV | 500 | 7.5 | 92.86 | 319.5313 | 268.719 | 78.0933 | 50.8123
Dr. NTTPS-V | 800 | 5.75 | 74.29 | 416.7491 | 407.2166 | 72.5907 | 9.5324 |  | 71114198.4
RTPP Stage-I | 420 | 9 | 76.88 | 218.6135 | 195.1463 | 68.6273 | 23.4672 |  | -8
RTPP Stage-II | 420 | 9 | 93.68 | 266.3855 | 205.245 | 72.1787 | 61.1405 |  | -568913587.2
RTPP Stage-III | 210 | 9 | 84.79 | 120.5531 | 97.7827 | 68.7747 | 22.7704
RTPP Stage-IV | 600 | 5.75 | 70.36 | 296.027 | 255.198 | 60.6557 | 40.829
Srisailam RCPH | 770 | 1 | 100 | 567.1512 | -0.2205 | - | - |  |  |  |  | 460
NSRCPH | 90 | 1 | 100 | 66.2904 | 31.1326 | 46.964 | 35.1578
NSTPDC PH | 50 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.0736 | -0.19985 | -
Upper Sileru | 240 | 1 | 100 | 176.7744 | 47.2656 | 26.7378 | 129.5088
Lower Sileru | 460 | 1 | 100 | 338.8176 | 113.7161 | 33.5626 | 225.1015 |  |  | 0.09
Donkarayi | 25 | 1 | 100 | 18.414 | 14.5819 | 79.189 | 3.8321
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.029811 | - | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.73656 | 0.33923 | 46.056 | 0.39733
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 21.0576 | 47.6485 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 24.616 | 58.0212 | -
APPDCL Stage-I | 1600 | 6.5 | 38.74 | 431.1855 | 404.35 | 36.329 | 26.8355 |  | 30000
APPDCL Stage-II | 800 | 5.75 | 86.99 | 487.993 | 476.9725 | 85.0255 | 11.0205
HNPCL | 1040 | 5.75 | 37.11 | 270.6317 | 263.9259 | 36.1905 | 6.7058
SEIL P1 (230MW) | 230.55 | 5 | 99.8 | 171.1861 | 168.2538 | 103.2531 | 2.9323
SEIL P2 (500MW Firm) | 500 | 5 | 100 | 372 | 370.5438 | 104.8511 | 1.4562
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 0 | 0 | 0 | 0 | 0 | Not availed by discoms
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 292.43 | 6.68 | 91.199 | 172.2374 | 139.535 | 68.7248 | 32.7024 |  | 365.82
NTPC(SR) Ramagundam III | 73.39 | 5.75 | 100 | 48.1107 | 39.9731 | 77.6741 | 8.1376 |  | 5.25
NTPC(SR) Talcher Stage-II | 182.37 | 5.75 | 78.893 | 96.8566 | 96.4757 | 75.4415 | 0.38092
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 80.012 | 257.2933 | 227.3003 | 69.9282 | 29.9931
NTPC(SR) Simhadri Stage-II | 217.55 | 5.25 | 96.33 | 143.1016 | 126.5732 | 82.5336 | 16.5284
NTPC Kudgi Stage-I | 201 | 5.75 | 100 | 138.534 | 74.8869 | 53.1319 | 63.6471
NTECL Valluru | 85.34 | 5.75 | 98.545 | 58.9265 | 50.0984 | 83.7176 | 8.8281
NLC Stage-I | 46.88 | 10 | 33.423 | 10.3603 | 10.3307 | 32.9099 | 0.029558
NLC Stage-II | 85.83 | 10 | 62.086 | 35.3577 | 35.0833 | 61.0443 | 0.27439
NLC TPS- I Expn. | 2.24 | 9 | 94.872 | 1.0413 | 1.0355 | 68.2761 | 0.0058764
NLC TPS- II Expn. | 2.67 | 12.5 | 19.281 | 0.241 | 0.24058 | 13.8409 | 0.00041908
NLC NNTPS | 52.71 | 5.75 | 83.863 | 30.9557 | 30.6948 | 83.0458 | 0.26089
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 50 | 42.2788 | 27.6057 | 32.199 | 14.673 |  |  |  | 132.42
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 99.602 | 0.785 | 1.5108 | 14.0501 | -0.72584 | The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement. |  |  | 1826.01

## feb 25
Availability of Generating Stations during February-25
Name of the Generator | INSTALLED CAP(AP SHARE) | AUX CONSUMPTION % | February
|  |  | % Availabilties communicated by APSLDC/SRPC | Availability in MU | DESPATCH MU | PLF % | BACKING DOWN MU | remarks
Dr. NTTPS | 1260 | 9 | 75.2 | 579.4274 | 554.22 | 71.9285 | 25.2074
Dr. NTTPS-IV | 500 | 7.5 | 100 | 310.8 | 292.1005 | 93.9834 | 18.6995
Dr. NTTPS-V | 800 | 5.75 | 70.18 | 355.5936 | 354.0633 | 69.878 | 1.5303
RTPP Stage-I | 420 | 9 | 77.02 | 197.8169 | 178.6451 | 69.5554 | 19.1718
RTPP Stage-II | 420 | 9 | 87.14 | 223.809 | 176.5825 | 68.7524 | 47.2265
RTPP Stage-III | 210 | 9 | 91.02 | 116.8872 | 97.9285 | 76.2569 | 18.9587
RTPP Stage-IV | 600 | 5.75 | 87.05 | 330.8039 | 287.305 | 75.6034 | 43.4989
Srisailam RCPH | 770 | 1 | 100 | 512.2656 | -0.1764 | -0.034435 | -
NSRCPH | 90 | 1 | 100 | 59.8752 | 12.8496 | 21.4607 | 47.0256
NSTPDC PH | 50 | 1 | 100 | 33.264 | 0.0005 | 0.0015031 | -
Upper Sileru | 240 | 1 | 100 | 159.6672 | 66.1109 | 41.4054 | 93.5563
Lower Sileru | 460 | 1 | 100 | 306.0288 | 104.9576 | 34.2966 | 201.0712
Donkarayi | 25 | 1 | 100 | 16.632 | 13.2511 | 79.6722 | 3.3809
PABM | 20 | 1 | TO BE TAKEN SAME AS DESPATCH |  | -0.02694 | -0.20247 | -
Minihydel(Chettipet) | 1 | 1 | 100 | 0.66528 | 0.32576 | 48.9658 | 0.33952
Machkund AP Share | 60 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 17.079 | 42.7865 | -
TB Dam AP Share | 57.6 | 1 | TO BE TAKEN SAME AS DESPATCH |  | 20.1962 | 52.7039 | -
APPDCL Stage-I | 1600 | 6.5 | 68.71 | 690.7499 | 690.983 | 68.7332 | -
APPDCL Stage-II | 800 | 5.75 | 88.79 | 449.8883 | 450.5065 | 88.912 | -
HNPCL | 1040 | 5.75 | 42.84 | 282.1847 | 280.8038 | 42.6304 | 1.3809
SEIL P1 (230MW) | 230.55 | 5 | 98.84 | 153.1324 | 153.1355 | 98.842 | -0.0030384
SEIL P2 (500MW Firm) | 500 | 5 | 99.78 | 335.2608 | 335.6267 | 99.8889 | -
SEMBCORP PROJECT-2 (125MW) | 125 | 5 | 95.75 | 80.43 | 57.1333 | 68.0158 | 23.2967
SEMBCORP PROJECT-1 (625MW) | 625 | 5 | 0 | 0 | 0 | 0 | 0
NTPC(SR) Ramagundam I & II | 292.43 | 6.68 | 85.683 | 145.8214 | 129.7083 | 70.7297 | 16.1131
NTPC(SR) Ramagundam III | 73.39 | 5.75 | 94.366 | 40.8034 | 36.8811 | 79.3445 | 3.9222
NTPC(SR) Talcher Stage-II | 182.37 | 5.75 | 78.341 | 86.8911 | 86.9411 | 75.2699 | -
NTPC(SR) Simhadri Stage-I | 461.1 | 5.25 | 97.465 | 283.129 | 276.5137 | 94.1831 | 6.6153
NTPC(SR) Simhadri Stage-II | 217.55 | 5.25 | 100 | 134.2971 | 130.846 | 94.4611 | 3.4511
NTPC Kudgi Stage-I | 201 | 5.75 | 100 | 120.6608 | 81.1993 | 63.7831 | 39.4615
NTECL Valluru | 85.34 | 5.75 | 98.977 | 53.4949 | 51.1299 | 94.5958 | 2.365
NLC Stage-I | 46.88 | 10 | 44.81 | 12.5594 | 12.545 | 44.2456 | 0.01445
NLC Stage-II | 85.83 | 10 | 48.107 | 24.7478 | 24.7375 | 47.6547 | 0.010308
NLC TPS- I Expn. | 2.24 | 9 | 91.491 | 0.97518 | 0.9834 | 71.7909 | -
NLC TPS- II Expn. | 2.67 | 12.5 | 10.633 | 0.12035 | 0.12057 | 7.6801 | -
NLC NNTPS | 52.71 | 5.75 | 81.984 | 27.3335 | 27.329 | 81.8616 | 0.0045153
NTPL(NLC TamilNadu) | 121.62 | 5.25 | 94.69 | 71.1735 | 54.5789 | 70.4809 | 16.5946
NTPC-TELANGANA-STPS STAGE-1 | 15.335 | 5.75 | 86.44 | 0.61533 | 0.8399 | 8.6475 | -
* The despatch>availabilities implies that subject to availability of URS power, based on grid requirement, URS power has been scheduled from these stations, duly following merit order, which is excess power beyond our state entitlement.