## D5_SAIDI-SAIFI
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: ANDHRA PRADESH
Name of Discom: APSPDCL
Number of Towns: 46
Total nos. of Feeders: 1027
Period: 1 Month (1st Sep 19 to 30th Sep'19)
Sl No | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec)
1 | ADONI | 11KV Town | 4217 | 4 | 3186
2 | ADONI | 11KV Industrial | 3661 | 5 | 6651
3 | ADONI | 11KV Rayalaseema | 3820 | 6 | 14188
4 | ADONI | 11KV T.B.P | 5599 | 8 | 9133
5 | ADONI | 11KV K.M.P | 7630 | 7 | 7966
6 | ADONI | 11KV Arts college | 6735 | 9 | 11614
7 | ADONI | 11KV Pump House | 4299 | 8 | 10124
8 | ADONI | 11KV Industrial &temple | 4410 | 9 | 21044
9 | ADONI | 11KV Shakthi Gudi | 8589 | 9 | 14538
10 | ADONI | 11KV Arekal | 4367 | 10 | 14163
11 | ADONI | Rayanagar | 1925 | 10 | 22276
12 | ADONI | Bypassroad | 1208 | 9 | 18547
13 | ADONI | Water works | 1068 | 3 | 11257
14 | ADONI | Hospital | 5352 | 8 | 11797
15 | ADONI | SBI | 4283 | 11 | 12052
16 | ADONI | 11KV Basapuram | 2536 | 2 | 2549
17 | ADONI | 11KV Industrial | 1235 | 1 | 334
18 | ADONI | 11KV Textile 2 | 2750 | 9 | 13523
19 | ADONI | 11KV Textile 1 | 3728 | 8 | 9006
20 | ANANTAPUR | 11KV Estate | 1018 | 3 | 8974
21 | ANANTAPUR | 11KV Aravindanagar | 11543 | 1 | 1204
22 | ANANTAPUR | 11KV Sai Nagar | 3985 | 1 | 2530
23 | ANANTAPUR | 11KV Vinayanagar | 6976 | 6 | 8727
24 | ANANTAPUR | 11KV Ashok Nagar | 4776 | 1 | 1254
25 | ANANTAPUR | 11KV RTC | 4714 | 0 | 0
26 | ANANTAPUR | 11KV Vidyuth Nagar | 6652 | 1 | 570
27 | ANANTAPUR | 11KV Hospital | 3887 | 2 | 8678
28 | ANANTAPUR | 11KV JNTU | 2894 | 2 | 4179
29 | ANANTAPUR | 11KV Somaladoddi | 5824 | 8 | 9912
30 | ANANTAPUR | 11KV LRG | 6671 | 1 | 1204
31 | ANANTAPUR | 11KV GandhiBazar | 6499 | 4 | 7602
32 | ANANTAPUR | 11KV Sreenivasanagar | 4341 | 2 | 5613
33 | ANANTAPUR | 11KV SS Tank | 6911 | 7 | 10762
34 | ANANTAPUR | 11KV Ayyappa | 5395 | 2 | 3752
35 | ANANTAPUR | 11KV Sri Nagar Colony | 5505 | 2 | 4179
36 | ANANTAPUR | 11KV Rudrampeta | 6022 | 10 | 20972
37 | ANANTAPUR | 11KV H.L.C Colony | 2829 | 2 | 4778
38 | ANANTAPUR | 11KV Tapovanam | 9393 | 2 | 920
39 | ANANTAPUR | 11KV BELLARY ROAD | 9899 | 8 | 10408
40 | ANANTAPUR | 11KV Venugopalnagar | 5864 | 2 | 6868
41 | ANANTAPUR | 11KV Collectorate | 6665 | 5 | 11607
42 | ANANTAPUR | 11KV Subash Road | 1650 | 3 | 7850
43 | ANANTAPUR | 11KV Ist Road | 3058 | 1 | 920
44 | ANANTAPUR | 11KV KLdg road | 18503 | 4 | 5230
45 | ANANTAPUR | 11KV AIR | 1687 | 1 | 1630
46 | ANANTAPUR | 11KV Raju Road | 5600 | 2 | 2136
47 | ANANTAPUR | 11KV Kamalanagar | 3600 | 15 | 32959
48 | ANANTAPUR | 11KV Ganga Nagar | 3163 | 1 | 1789
49 | ANANTAPUR | 11KV TV | 4002 | 1 | 4230
50 | ANANTAPUR | 11KV Ramnagar | 3807 | 2 | 4179
51 | ANANTAPUR | 11KV Court Road | 6936 | 6 | 8252
52 | ANANTAPUR | 11KV Sangameshnagar | 2985 | 0 | 0
53 | ANANTAPUR | 11KV R.C.Nagar | 4502 | 3 | 2969
54 | BAPATLA | 11KV Bapatla Town-2(Patel Nagar) | 4057 | 15 | 19258
55 | BAPATLA | 11KV Islampet | 3937 | 13 | 15364
56 | BAPATLA | 11KV Agraharam | 2538 | 13 | 16809
57 | BAPATLA | 11KV Water Works | 1886 | 1 | 1408
58 | BAPATLA | 11KV Ramakrishnapuram | 4747 | 15 | 21494
59 | BAPATLA | 11KV Shanti Nagar | 2573 | 2 | 1699
60 | BAPATLA | 11KV Radham Bazar | 2507 | 10 | 20461
61 | BAPATLA | 11KV Vijaya lakshmipuram | 3997 | 1 | 283
62 | BAPATLA | 11KV Bapatla industrial | 2252 | 2 | 283
63 | BAPATLA | 11KV Ramakrishna Puram | 2876 | 14 | 14271
64 | BAPATLA | 11KV Brindavanam | 4236 | 5 | 11753
65 | BAPATLA | 11KV Railpet | 1346 | 6 | 8288
66 | BAPATLA | 11KV Arts College | 2536 | 14 | 15364
67 | BETHAMCHERLA | 11KV BUGGANIPALLI | 862 | 11 | 14004
68 | BETHAMCHERLA | 11KV S.R.NAGAR | 2209 | 0 | 0
69 | BETHAMCHERLA | 11KV B. CHERLA TOWN. I | 239 | 9 | 10969
70 | BETHAMCHERLA | 11KV GORLAGUTTA | 985 | 6 | 7685
71 | BETHAMCHERLA | 11KV MAIN ROAD | 9798 | 4 | 8992
72 | BETHAMCHERLA | 11KV INDUSTRIAL(I.CHERUVU) | 1902 | 20 | 35297
73 | BETHAMCHERLA | 11KV B. CHERLA TOWN. II | 239 | 7 | 7151
74 | CHILAKALURIPET | 11KV Chilakaluripet C | 3891 | 10 | 17178
75 | CHILAKALURIPET | 11KV Chilakaluripet B | 1915 | 2 | 4546
76 | CHILAKALURIPET | 11KV KB road | 1305 | 4 | 8022
77 | CHILAKALURIPET | 11 Chilakaluripet A1 | 5553 | 2 | 5602
78 | CHILAKALURIPET | 11KV Polireddy Palem | 4769 | 10 | 17251
79 | CHILAKALURIPET | 11KV Highway | 1776 | 6 | 10832
80 | CHILAKALURIPET | 11KV Maddinagar | 5104 | 7 | 12126
81 | CHILAKALURIPET | 11KV Police Station | 4866 | 8 | 11196
82 | CHILAKALURIPET | 11KV C.R.Colony | 4065 | 4 | 6189
83 | CHILAKALURIPET | 11KV Purushotthapatnam | 3163 | 1 | 2293
84 | CHILAKALURIPET | 11KV Pandaripuram | 1993 | 4 | 9237
85 | CHILAKALURIPET | 11KV Chilakaluripet A2 | 1373 | 0 | 0
86 | CHIRALA | 11KV BOSENAGAR | 1692 | 2 | 6127
87 | CHIRALA | 11KV MARKET | 2349 | 6 | 10299
88 | CHIRALA | 11KV LOCAL1 | 2657 | 2 | 2138
89 | CHIRALA | 11KV RAILWAYSTATION | 3537 | 7 | 11403
90 | CHIRALA | 11KV VYKUNTAPURAM | 1082 | 2 | 7741
91 | CHIRALA | 11KV LOCAL2 | 5505 | 1 | 2974
92 | CHIRALA | 11KV VITALNAGAR | 4745 | 7 | 23007
93 | CHIRALA | 11KV DANDUBATA | 3165 | 6 | 18586
94 | CHIRALA | 11KV JAYANTIPETA | 6542 | 10 | 31353
95 | CHIRALA | 11KV GANJIPALEM | 5190 | 6 | 9876
96 | CHIRALA | 11KV WOODNAGAR | 433 | 4 | 5036
97 | CHITTOOR | 11KV Thana | 650 | 1 | 1816
98 | CHITTOOR | 11KV C.K.Palle | 564 | 7 | 9482
99 | CHITTOOR | 11KV High road | 3284 | 2 | 3836
100 | CHITTOOR | 11KV Collector | 1139 | 1 | 4018
101 | CHITTOOR | 11KV Industrial estate | 143 | 2 | 2373
102 | CHITTOOR | 11KV M.S.R | 1070 | 2 | 4322
103 | CHITTOOR | 11KV Sai Baba temple | 1749 | 1 | 1462
104 | CHITTOOR | 11KV Kattamanchi | 1893 | 6 | 9591
105 | CHITTOOR | 11KV Municipal office | 908 | 4 | 4644
106 | CHITTOOR | 11KV Nutrine | 1729 | 2 | 3782
107 | CHITTOOR | 11KV SP Bungalaw | 8310 | 1 | 2035
108 | CHITTOOR | 11KV Gollingspet | 3258 | 4 | 6401
109 | CHITTOOR | 11KV Muragani Palle | 9027 | 4 | 6593
110 | CHITTOOR | 11KV Collector | 30 | 4 | 9432
111 | CHITTOOR | 11KV DI Road | 5465 | 3 | 6864
112 | CHITTOOR | 11KV Ramnagar colony | 5787 | 2 | 2429
113 | CHITTOOR | 11KV Greamspet | 2607 | 2 | 762
114 | CHITTOOR | 11KV Iruvaram | 62 | 1 | 413
115 | CHITTOOR | 11KV Market | 4480 | 9 | 33039
116 | CHITTOOR | 11KV Court | 2305 | 2 | 3201
117 | CHITTOOR | 11KV Exchange | 8 | 2 | 4024
118 | CHITTOOR | 11KV Balaji colony | 12718 | 2 | 1781
119 | CHITTOOR | 11KV mittoor | 3574 | 2 | 5856
120 | CHITTOOR | 11KV Kameswara Nagar | 1045 | 4 | 5922
121 | CHITTOOR | 11KV Santhapet Rural | 5353 | 4 | 6401
122 | CHITTOOR | 11KV Z.P | 19986 | 2 | 6659
123 | CHITTOOR | 11KV Dairy | 3554 | 4 | 12560
124 | CHITTOOR | 11KV Industrial estate | 3579 | 3 | 5745
125 | CHITTOOR | 11KV Durganagar colony | 3888 | 1 | 322
126 | DHARMAVARAM | 11KV Town DMM | 6606 | 5 | 21343
127 | DHARMAVARAM | 11KV Water Works DMM | 6351 | 6 | 21115
128 | DHARMAVARAM | 11KV Shirdi sai | 10209 | 13 | 28490
129 | DHARMAVARAM | 11KV Siva Nagar | 7332 | 12 | 28274
130 | DHARMAVARAM | 11KV Santhinagar (Gotlur) | 4667 | 8 | 29433
131 | DHARMAVARAM | 11KV C.K. Puram | 13625 | 13 | 27031
132 | DHARMAVARAM | 11KV Durganagar | 6840 | 4 | 9023
133 | DHARMAVARAM | 11KV Yadava street | 11264 | 2 | 5393
134 | GOOTY | 11KV Gooty RS | 6049 | 9 | 13675
135 | GOOTY | 11 KV Industrial feeder | 5711 | 3 | 8374
136 | GOOTY | 11KV Railway Express | 3661 | 1 | 1905
137 | GOOTY | 11KV GOOTY TOWN | 12806 | 13 | 32582
138 | GUDIVADA | 11KV Town-IV | 2370 | 2 | 3115
139 | GUDIVADA | 11KV Town-III | 5229 | 1 | 1991
140 | GUDIVADA | 11KV Town-V | 5778 | 1 | 3004
141 | GUDIVADA | 11KV Bethavolu | 5436 | 1 | 3894
142 | GUDIVADA | 11KV Nandivada (HT) | 3688 | 1 | 708
143 | GUDIVADA | 11KV Autonagar | 2872 | 7 | 18520
144 | GUDIVADA | 11KV Town-I | 3984 | 2 | 7803
145 | GUDIVADA | 11KV Water Works | 7480 | 3 | 7241
146 | GUDIVADA | 11KV Industrial | 6620 | 2 | 1841
147 | GUDIVADA | 11KV Town-II | 3909 | 1 | 528
148 | GUDUR | 11KV Muncipal office | 5131 | 2 | 2063
149 | GUDUR | 11KV B.S.Peta | 6349 | 2 | 5826
150 | GUDUR | 11KV Commercial | 2207 | 2 | 583
151 | GUDUR | 11KV Gudur Town II | 4408 | 2 | 2664
152 | GUDUR | 11 KV Society | 2221 | 9 | 20090
153 | GUDUR | 11KV M.V. Nagar | 3613 | 8 | 12562
154 | GUDUR | 11KV Industrial | 492 | 6 | 13138
155 | GUDUR | 11 KV Indira Nagar | 6086 | 8 | 15744
156 | GUDUR | 11KV Gandhi Nagar | 8238 | 8 | 12621
157 | GUNTAKAL | 11KV Railway | 128 | 2 | 5880
158 | GUNTAKAL | 11KV New SN Peta | 8606 | 15 | 32003
159 | GUNTAKAL | 11KV Konakondla | 3140 | 2 | 8281
160 | GUNTAKAL | 11KV Guntakal -I(Hanumesh nagar) | 4744 | 4 | 5556
161 | GUNTAKAL | 11KV Guntakal - II (Bhagyanagar) | 5951 | 13 | 29106
162 | GUNTAKAL | 11KV Mandi Bazar | 6023 | 15 | 31979
163 | GUNTAKAL | 11KV RajendraNagar | 6168 | 8 | 27111
164 | GUNTAKAL | 11KV Mill Colony | 5535 | 13 | 36508
165 | GUNTAKAL | 11KV Mohinabad | 5930 | 12 | 43493
166 | GUNTAKAL | 11KV Guntakal - III (Thilaknagar) | 3285 | 10 | 37911
167 | GUNTAKAL | 11KV Industrial Estate(IDA)(GTKL) | 1838 | 7 | 16016
168 | GUNTUR | 11KV APHB Colony | 5432 | 2 | 3108
169 | GUNTUR | 11KV A.T.Agraharam | 4010 | 2 | 10700
170 | GUNTUR | 11KV Y Junction | 2704 | 7 | 15672
171 | GUNTUR | 11KV Donkaroad | 5249 | 6 | 16172
172 | GUNTUR | Joy Alukas (Local 24th) | 2232 | 2 | 1636
173 | GUNTUR | 11KV Krishna nagar | 2543 | 2 | 1475
174 | GUNTUR | 11KV Ravindra Nagar | 987 | 1 | 3206
175 | GUNTUR | 11KV Syamala Nagar | 4400 | 0 | 0
176 | GUNTUR | 11KV Sibar Industrial | 2296 | 2 | 5970
177 | GUNTUR | 11KV Gandhi park | 1152 | 2 | 1956
178 | GUNTUR | 11KV Guntur 18th | 8184 | 3 | 6718
179 | GUNTUR | 11KV Dwaraka Nagar | 2900 | 2 | 1962
180 | GUNTUR | 11KV Ring Road | 2477 | 2 | 5963
181 | GUNTUR | 11KV Auto Nagar 1 & 2 | 4526 | 2 | 3700
182 | GUNTUR | 11KV Water Works | 41 | 4 | 8619
183 | GUNTUR | 11KV Guntur 3rd | 5457 | 2 | 5206
184 | GUNTUR | 11KV AnkiReddy Palem | 2811 | 3 | 7082
185 | GUNTUR | 11KV Guntur 7th | 5230 | 1 | 2672
186 | GUNTUR | 11KV Guntur 1st | 7182 | 7 | 10251
187 | GUNTUR | 11KV SIMHAPURI | 6897 | 7 | 9124
188 | GUNTUR | Kalanikethan Feeder (Local 22nd) | 1198 | 2 | 2997
189 | GUNTUR | 11KV Guntur 9th | 3974 | 7 | 18669
190 | GUNTUR | 11KV Reddypalem | 7284 | 1 | 1487
191 | GUNTUR | 11KV Guntur 5th | 4505 | 2 | 1694
192 | GUNTUR | 11 KV PRIYANKA GARDENS | 7915 | 1 | 7186
193 | GUNTUR | 11KV Tolly Wood | 4267 | 8 | 17066
194 | GUNTUR | 11KV Hanumaiah Nagar | 3839 | 2 | 3771
195 | GUNTUR | 11KV Temple | 2626 | 3 | 4147
196 | GUNTUR | 11KV RAMESH HOSPITAL | 3504 | 6 | 13452
197 | GUNTUR | 11KV SAMPATH NAGAR | 5614 | 2 | 4673
198 | GUNTUR | 11KV Guntur 8th | 8902 | 2 | 2668
199 | GUNTUR | 11KV Gunturivarithota | 2724 | 7 | 15115
200 | GUNTUR | 11KV Guntur 16th | 4410 | 2 | 3984
201 | GUNTUR | 11KV Industrial | 4299 | 4 | 4577
202 | GUNTUR | 11KV Brundavan Gardens Feeder | 3064 | 2 | 992
203 | GUNTUR | 11KV Guntur 21st | 1291 | 4 | 9722
204 | GUNTUR | 11KV ID Hospital | 4383 | 3 | 4462
205 | GUNTUR | 11KV Kothapet | 2176 | 6 | 16356
206 | GUNTUR | 11KV Lalapet1 & Lalapet2 | 2643 | 5 | 17075
207 | GUNTUR | 11KV Srinagar | 5806 | 2 | 2115
208 | GUNTUR | 11KV K.K. Towers | 3783 | 4 | 8631
209 | GUNTUR | 11KV Vidya nagar | 2614 | 1 | 842
210 | GUNTUR | 11KV JKC Road Feeder | 4400 | 1 | 3338
211 | GUNTUR | 11KV Cobaltpet | 3865 | 5 | 10465
212 | GUNTUR | 11KV Naaz | 3266 | 5 | 14244
213 | GUNTUR | 11KV Pattabhipuram | 2210 | 3 | 6181
214 | GUNTUR | 11KV Stambalagaruvu | 1527 | 1 | 1190
215 | GUNTUR | 11KV Bhashyam | 6030 | 3 | 5411
216 | GUNTUR | 11KV Navabharath nagar | 2244 | 2 | 3706
217 | GUNTUR | 11KV Guntur 15th | 5197 | 2 | 3088
218 | GUNTUR | 11KV Vikas nagar | 1842 | 1 | 1955
219 | GUNTUR | 11KV Guntur 13th | 3829 | 2 | 3509
220 | GUNTUR | 11KV Koritepadu | 4523 | 2 | 3114
221 | GUNTUR | 11KV Railpet | 2969 | 6 | 13264
222 | GUNTUR | 11KV BY PASS ROAD | 1837 | 3 | 2478
223 | GUNTUR | 11KV Sarada Colony | 7455 | 1 | 940
224 | GUNTUR | 11KV Yethi Rajula Colony | 3935 | 7 | 9275
225 | GUNTUR | 11KV Lam & Jonnalagadda | 4028 | 6 | 10192
226 | GUNTUR | 11KV Pulladigunta | 95 | 4 | 2065
227 | GUNTUR | 11KV Bongaralabeedu | 7352 | 2 | 7559
228 | GUNTUR | 11KV Chaitanyapuri | 4310 | 1 | 1775
229 | GUNTUR | 11KV Adarsh Nagar | 3131 | 3 | 3769
230 | GUNTUR | 11KV Nehru Nagar Water Works | 2453 | 2 | 10375
231 | GUNTUR | 11KV Lalpuram Village Feeder | 2847 | 6 | 16015
232 | GUNTUR | 11KV Guntur 20th | 983 | 3 | 6571
233 | GUNTUR | Highway | 1807 | 7 | 18882
234 | GUNTUR | 11KV Auto Nagar 3 & 4 | 4262 | 4 | 4467
235 | GUNTUR | 11KV Industrial Estate | 2660 | 3 | 4443
236 | GUNTUR | 11 KV PRAGATHI NAGAR | 3606 | 2 | 2734
237 | GUNTUR | 11KV Vasantharayapuram | 7663 | 4 | 11701
238 | GUNTUR | 11 KV BALAJI NAGAR | 76 | 1 | 1696
239 | GUNTUR | 11KV Green leaf | 3184 | 2 | 4750
240 | GUNTUR | 11KV ETUKURU ROAD | 5721 | 7 | 22853
241 | GUNTUR | 11KV U.G.cable | 341 | 1 | 4246
242 | GUNTUR | 11KV Guntur 10th | 3801 | 3 | 4343
243 | GUNTUR | 11KV Market | 3664 | 7 | 8209
244 | GUNTUR | 11KV Guntur 19th | 3729 | 3 | 8658
245 | GUNTUR | 11KV ‘R’ AGRAHARAM | 5692 | 1 | 1912
246 | GUNTUR | 11KV NH - 5 Feeder | 2523 | 3 | 4687
247 | GUNTUR | Jana Chaitanya | 2065 | 8 | 19660
248 | GUNTUR | Arundalpeta Park (Local 23rd) | 4462 | 2 | 4460
249 | GUNTUR | 11KV Vijayapuri | 3158 | 1 | 5676
250 | GUNTUR | 11KV Amaravathi Road | 3031 | 12 | 25587
251 | GUNTUR | 11KV Guntur 17th | 7137 | 2 | 6508
252 | GUNTUR | 11KV SWARNA BHARATHI NAGAR | 7037 | 2 | 4177
253 | GUNTUR | 11KV Balaji Nagar | 9868 | 2 | 4308
254 | GUNTUR | 11KV Guntur 11th | 5087 | 1 | 1046
255 | GUNTUR | 11KV Guntur 14th | 3646 | 1 | 1979
256 | GUNTUR | 11KV Railway Station Road | 7242 | 5 | 12115
257 | GUNTUR | 11KV Gorantla | 4884 | 7 | 9322
258 | GUNTUR | 11 KV YADAVA HIGH SCHOOL | 7062 | 4 | 3682
259 | GUNTUR | 11KV Ananthavarapadu Feeder | 6630 | 8 | 16028
260 | GUNTUR | 11KV Rajendra Nagar Feeder | 3972 | 2 | 1026
261 | GUNTUR | 11KV Brodipet | 2493 | 6 | 12172
262 | GUNTUR | 11KV Reliance | 910 | 9 | 15602
263 | GUNTUR | 11KV Srinivasa Rao thota | 1914 | 1 | 3238
264 | GUNTUR | 11KV Guntur 4th | 5158 | 7 | 16640
265 | GUNTUR | 11KV KVP Colony | 5149 | 3 | 5554
266 | GUNTUR | 11KV Guntur 12th | 6653 | 3 | 4092
267 | GUNTUR | 11KV GGH Feeder | 7729 | 4 | 15645
268 | GUNTUR | 11KV Manasasarovaram | 2296 | 4 | 4035
269 | GUNTUR | 11KV AC College Road | 421 | 2 | 4328
270 | GUNTUR | 11KV Panduranga Nagar | 4896 | 6 | 13228
271 | GUNTUR | 11KV Best price | 3546 | 2 | 6210
272 | GUNTUR | 11KV Guntur 6th | 4935 | 4 | 5406
273 | GUNTUR | 11KV Nehru Nagar | 1213 | 2 | 3344
274 | GUNTUR | 11KV Budampadu | 4492 | 10 | 11819
275 | GUNTUR | 11KV Chandra Mouli Nagar & Kundal Road | 2828 | 6 | 14419
276 | GUNTUR | 11KV Guntur 2nd & Anandpet | 11713 | 2 | 2765
277 | GUNTUR | 11KV Lakshmipuram & Ashok Nagar | 5860 | 2 | 3214
278 | HINDUPUR | 11KVSugur-DI | 4725 | 2 | 1699
279 | HINDUPUR | 11KVHindupur-DI | 8018 | 3 | 2771
280 | HINDUPUR | 11KVHindupur-DII | 6847 | 7 | 14587
281 | HINDUPUR | 11KVRTC Hindupur | 5115 | 1 | 738
282 | HINDUPUR | 11KVS.Sadlapalli | 6719 | 2 | 1768
283 | HINDUPUR | 11KVSugur-DII | 4614 | 2 | 1699
284 | HINDUPUR | 11KVMelapuram | 7279 | 3 | 3540
285 | JAGGAIAHPET | 11KV Jaggaiahpeta Feeder II | 1544 | 2 | 4636
286 | JAGGAIAHPET | 11KV Jaggaiahpeta Feeder I | 1461 | 6 | 14997
287 | JAGGAIAHPET | 11KV Ramalayam feeder | 4356 | 4 | 11228
288 | JAGGAIAHPET | 11KV Jaggaiahpeta Feeder III | 3801 | 9 | 19411
289 | JAGGAIAHPET | 11KV Ayyappanagar feeder | 8943 | 1 | 1596
290 | JAGGAIAHPET | 11KV Jaggaiahpeta Feeder IV | 67 | 5 | 14336
291 | JAMMALAMADUGU | 11KV Town-I | 4643 | 5 | 10809
292 | JAMMALAMADUGU | 11KV Laxmi Nagar | 228 | 4 | 7619
293 | JAMMALAMADUGU | 11KV JMD Water Works(Cambel) | 3274 | 14 | 30083
294 | JAMMALAMADUGU | 11KV Kanneluru | 2134 | 3 | 8950
295 | JAMMALAMADUGU | 11KV Old Busstand(PDTR) Road | 3798 | 0 | 0
296 | JAMMALAMADUGU | 11KV Town-II | 1516 | 1 | 1291
297 | JAMMALAMADUGU | 11KV MORAGUDI | 3155 | 11 | 26332
298 | JAMMALAMADUGU | 11KV TTD | 4188 | 6 | 9595
299 | KADAPA | 11KV S.PURAM | 2362 | 3 | 1671
300 | KADAPA | 11KV N.NAGAR | 2496 | 2 | 1110
301 | KADAPA | 11KV Nagaraju Peta | 5509 | 2 | 9217
302 | KADAPA | 11KV D.NAGAR | 3603 | 2 | 2579
303 | KADAPA | 11KV N.G.O.COLONY | 6581 | 7 | 8107
304 | KADAPA | 11KV Water Works Feeder | 2594 | 2 | 4270
305 | KADAPA | 11KV Ravindra Nagar | 4258 | 3 | 793
306 | KADAPA | 11KV RTC | 2760 | 1 | 920
307 | KADAPA | 11KV Collctorate | 4230 | 3 | 910
308 | KADAPA | 11KV S.V.D.C., | 11759 | 0 | 0
309 | KADAPA | 11KV Z.PARISHAD | 5967 | 3 | 5890
310 | KADAPA | 11KV Yerramukkapalli | 3062 | 3 | 5452
311 | KADAPA | 11KV Pakkir Palli | 3233 | 1 | 999
312 | KADAPA | 11KV R.S.Road | 2581 | 2 | 717
313 | KADAPA | 11KV Sai baba anadha | 4494 | 2 | 720
314 | KADAPA | 11KV M.R.Nagar | 1342 | 2 | 721
315 | KADAPA | 11KV Old Rims | 1126 | 1 | 721
316 | KADAPA | 11KV Hospital | 2473 | 2 | 1742
317 | KADAPA | 11KV Eenadu | 7998 | 8 | 15647
318 | KADAPA | 11KV Balaji nagar | 8745 | 6 | 7363
319 | KADAPA | 11KV R.K.COLLEGE | 4088 | 3 | 2822
320 | KADAPA | 11KV Mutharasu Palli | 11201 | 6 | 15256
321 | KADAPA | 11KV Indrastrial | 5210 | 5 | 3337
322 | KADAPA | 11KV AIR | 9578 | 1 | 1386
323 | KADAPA | 11KV Madras Road | 2039 | 4 | 6045
324 | KADAPA | 11KV GANDHI NAGAR | 1100 | 4 | 4246
325 | KADAPA | 11KV MASSAPETA | 5993 | 1 | 142
326 | KADAPA | 11KV Colony | 1467 | 1 | 991
327 | KADAPA | 11KV ASHOK NAGAR FEEDER | 6799 | 4 | 2549
328 | KADAPA | 11KV Collectorate | 6045 | 2 | 4312
329 | KADAPA | 11KV Sai Peta | 5682 | 3 | 6514
330 | KADAPA | 11KV North Kadapa | 16124 | 3 | 6018
331 | KADAPA | 11KV NAKASH | 3078 | 3 | 3724
332 | KADAPA | 11KV T.T.D., | 2302 | 6 | 9823
333 | KADAPA | 11KV GOUSE NAGAR | 2631 | 2 | 3073
334 | KADAPA | 11KV Devuni Kadapa | 837 | 2 | 3053
335 | KADAPA | 11KV Sivanandapuram | 3151 | 3 | 3146
336 | KADAPA | 11KV Ballari road | 6887 | 2 | 931
337 | KADAPA | 11KV Nabikota | 7094 | 5 | 8651
338 | KADAPA | 11KV PRAKASH NAGAR | 9467 | 2 | 1841
339 | KADIRI | 11KV Kadiri D-IV | 3182 | 7 | 8358
340 | KADIRI | 11KV Kuttagulla | 4016 | 12 | 15548
341 | KADIRI | 11KV Kadiri D-III | 9011 | 11 | 12111
342 | KADIRI | 11KV Kadiri D-I | 9276 | 5 | 5342
343 | KADIRI | 11KV Kummarvandla palli | 6961 | 1 | 1372
344 | KADIRI | 11KV Kadiri D-II | 11662 | 2 | 5992
345 | KANDUKURU | 11KV SBI | 1858 | 1 | 2346
346 | KANDUKURU | 11KV SIVALAYAM | 4238 | 3 | 5782
347 | KANDUKURU | 11KV SRINAGAR COLONY | 858 | 2 | 3606
348 | KANDUKURU | 11KV PAMURUROAD | 3420 | 1 | 3457
349 | KANDUKURU | 11KV CTRI | 1279 | 3 | 10762
350 | KANDUKURU | 11KV LIC | 2229 | 1 | 1348
351 | KANDUKURU | 11KV SS TANK | 23 | 4 | 10267
352 | KANDUKURU | 11KV MRO_OFFICE | 2210 | 3 | 11494
353 | KANDUKURU | 11KV UPPUCHERUVU | 3729 | 1 | 3243
354 | KANDUKURU | 11KV VENKATADRI PALEM | 1295 | 2 | 9184
355 | KANDUKURU | 11KV JANARDHANCOLONY | 963 | 1 | 2343
356 | KAVALI | 11KV Trunk Road | 4691 | 4 | 5517
357 | KAVALI | 11KV Kacherimitta | 4566 | 9 | 19732
358 | KAVALI | 11KV Sivalayam | 14590 | 9 | 14041
359 | KAVALI | 11KV Vykuntapuram | 3542 | 2 | 2088
360 | KAVALI | 11KV Kalugolamma | 1075 | 5 | 8270
361 | KAVALI | 11KV Potti Sriramulu | 16504 | 6 | 6762
362 | KAVALI | 11KV Vengal Rao Nagar | 6115 | 3 | 3878
363 | KAVALI | 11KV Old town | 2464 | 5 | 5505
364 | KAVALI | 11KV Railway Road | 2095 | 3 | 4956
365 | KURNOOL | 11KV G.G. HOSPITAL | 4227 | 3 | 850
366 | KURNOOL | 11KV GUEST HOUSE | 3654 | 3 | 3219
367 | KURNOOL | ABK Estate | 1346 | 5 | 11179
368 | KURNOOL | 11KV MILK DIARY (G.G.HOSPITAL SS) | 2651 | 4 | 4772
369 | KURNOOL | 11KV BAVAPURAM | 3387 | 8 | 11907
370 | KURNOOL | 11KV PEDDA MARKET | 5579 | 2 | 5250
371 | KURNOOL | 11KV M.D. | 9434 | 1 | 1230
372 | KURNOOL | 11KV ZILLA PARISHAD | 721 | 6 | 12654
373 | KURNOOL | 11KV OSMANIA | 5964 | 3 | 5008
374 | KURNOOL | 11KV BUDHA VARPETA | 5182 | 2 | 3806
375 | KURNOOL | 11KV CHINNAMMA VARI SALA | 7809 | 3 | 4296
376 | KURNOOL | 11KV BAPUJI NAGAR | 6807 | 3 | 4276
377 | KURNOOL | 11KV VENKATA RAMANNA COLONY | 5270 | 6 | 15920
378 | KURNOOL | U Con plaza | 2279 | 5 | 14255
379 | KURNOOL | 11KV BAVAPURAM | 5479 | 6 | 14050
380 | KURNOOL | 11KV NORTH | 3191 | 2 | 1703
381 | KURNOOL | 11KV T.B.I. | 6625 | 4 | 7448
382 | KURNOOL | 11KV DPO | 5767 | 1 | 3406
383 | KURNOOL | 11KV WATER WORKS(POWER HOUSE) | 2507 | 3 | 5080
384 | KURNOOL | 11KV N.R. PETA | 3035 | 2 | 4106
385 | KURNOOL | 11KV PRAKASH NAGAR | 3467 | 2 | 4094
386 | KURNOOL | 11KV SANTOSH NAGAR | 4346 | 9 | 19428
387 | KURNOOL | 11KV ESTATE TOWN-1 | 4625 | 6 | 14483
388 | KURNOOL | 11KV CENTRAL | 8938 | 5 | 6160
389 | KURNOOL | 11KV WEAKER SECTION COLONY | 7392 | 6 | 14160
390 | KURNOOL | 11KV KIDS WORLD | 2342 | 2 | 1062
391 | KURNOOL | 11KV NEW I T I | 2709 | 5 | 10335
392 | KURNOOL | 11KV SAI BABA | 4273 | 4 | 8877
393 | KURNOOL | 11KV WATER WORKS(JOHARAPURAM) | 1853 | 2 | 1516
394 | KURNOOL | 11KV WATER WORKS | 2992 | 2 | 1416
395 | KURNOOL | Vidhya Nagar | 6589 | 4 | 12396
396 | KURNOOL | 11KV RADIO STATION | 3775 | 8 | 14714
397 | KURNOOL | 11KV ESTATE TOWN-III | 2154 | 7 | 14636
398 | KURNOOL | 11KV B. CAMP | 3654 | 4 | 9785
399 | KURNOOL | 11KV NEW VARTHA | 3139 | 2 | 754
400 | KURNOOL | 11KV VARTHA | 1579 | 4 | 8501
401 | KURNOOL | 11KV C. CAMP | 7999 | 1 | 1696
402 | KURNOOL | 11KV IV CLASS | 6128 | 3 | 3047
403 | KURNOOL | 11KV DEGREE COLLEGE | 3637 | 3 | 3338
404 | KURNOOL | 11KV ESTATE RURAL | 3906 | 1 | 835
405 | KURNOOL | 11KV HOUSING BOARD | 3596 | 3 | 4943
406 | KURNOOL | 11KV ESTATE TOWN-2 | 2302 | 2 | 3995
407 | KURNOOL | 11KV CHECK POST | 15502 | 1 | 3651
408 | KURNOOL | 11KV VIGNAN MANDIR | 1853 | 3 | 7250
409 | MACHERLA | 11KV AIR | 1133 | 7 | 18147
410 | MACHERLA | 11KV Sagar Road | 3576 | 4 | 9166
411 | MACHERLA | 11KV Town 1 | 5163 | 3 | 9295
412 | MACHERLA | 11KV Town 2 | 3518 | 1 | 2208
413 | MACHERLA | 11KV Municipal water works | 393 | 11 | 28971
414 | MACHERLA | 11KV Suddagunta | 4677 | 7 | 20618
415 | MACHERLA | 11KV Ring Road | 6324 | 2 | 4533
416 | MACHILIPATNAM | 11KV Sivaganga | 3156 | 8 | 8826
417 | MACHILIPATNAM | 11KV Ring-I | 3479 | 3 | 4214
418 | MACHILIPATNAM | 11KV Industrial Estate | 1068 | 5 | 6292
419 | MACHILIPATNAM | 11KV MTM Town-2 | 2018 | 1 | 3131
420 | MACHILIPATNAM | 11KV MTM Town-1 | 1742 | 6 | 12769
421 | MACHILIPATNAM | 11KV EDEPALLI | 3462 | 4 | 9451
422 | MACHILIPATNAM | 11KV Malkapatnam | 3600 | 10 | 27452
423 | MACHILIPATNAM | 11KV Bandarkota | 2159 | 11 | 26178
424 | MACHILIPATNAM | 11KV Govt Hospital | 2827 | 6 | 5237
425 | MACHILIPATNAM | 11KV Chilakalapudi | 4002 | 3 | 5664
426 | MACHILIPATNAM | 11KV North | 3459 | 5 | 8850
427 | MACHILIPATNAM | 11KV Ring-II | 14567 | 4 | 2835
428 | MACHILIPATNAM | 11KV Jewellary Park | 5759 | 6 | 12327
429 | MACHILIPATNAM | 11KV Inuguduru | 5697 | 4 | 2407
430 | MACHILIPATNAM | 11KV South | 3409 | 5 | 2549
431 | MACHILIPATNAM | 11KV Fort Road | 3912 | 9 | 21295
432 | MACHILIPATNAM | 11KV Railway Station | 4624 | 2 | 5310
433 | MACHILIPATNAM | 11KV RTC | 2621 | 11 | 19993
434 | MACHILIPATNAM | 11KV Jalalpeta | 4139 | 9 | 24243
435 | MACHILIPATNAM | 11KV SHAKTHIGUDI | 4103 | 6 | 16088
436 | MACHILIPATNAM | 11KV Zilla court | 2864 | 7 | 14253
437 | MACHILIPATNAM | 11KV Radar | 1374 | 2 | 3129
438 | MADANAPALLI | 11KV Vivekananda Nagar | 3839 | 2 | 5756
439 | MADANAPALLI | 11KV Bridge School | 7843 | 3 | 4671
440 | MADANAPALLI | 11KV N G palli | 5384 | 6 | 6330
441 | MADANAPALLI | 11KV Manjunatha | 5009 | 3 | 6969
442 | MADANAPALLI | 11KV Sanitorium | 4893 | 5 | 7827
443 | MADANAPALLI | 11KV Estate | 6008 | 2 | 3768
444 | MADANAPALLI | Punganur Road | 3497 | 2 | 5336
445 | MADANAPALLI | 11KV Kuravanka | 3743 | 0 | 0
446 | MADANAPALLI | 11KV YSR nagar | 7469 | 3 | 3947
447 | MADANAPALLI | 11KV Nehru Bazaar | 11653 | 2 | 3313
448 | MADANAPALLI | 11KV Society colony | 7324 | 5 | 10423
449 | MADANAPALLI | 11KV Tele phone exch | 5604 | 4 | 10364
450 | MADANAPALLI | 11KV Gandhi Road | 3317 | 2 | 3100
451 | MADANAPALLI | 11KV Krishna nagar | 5112 | 2 | 3538
452 | MADANAPALLI | 11KV MMC | 4772 | 2 | 3637
453 | MADANAPALLI | 11KV Ramarao colony | 5545 | 2 | 5563
454 | MARKAPUR | 11KV TOWN II | 5150 | 9 | 16437
455 | MARKAPUR | 11KV MARKAPUR TOWN | 3500 | 11 | 30921
456 | MARKAPUR | 11KV INDUSTRAILESTATE | 3241 | 15 | 33810
457 | MARKAPUR | 11KV TOWN III | 4121 | 8 | 21846
458 | MARKAPUR | 11KV JAGADESWARI | 4243 | 16 | 29466
459 | MARKAPUR | 11KV AIR | 949 | 4 | 7859
460 | MARKAPUR | 11KV TOWN1 | 8744 | 2 | 2187
461 | MARKAPUR | 11KV RTC | 4088 | 7 | 7363
462 | NANDYAL | 11KV PARK ROAD | 1062 | 7 | 7080
463 | NANDYAL | 11KV INDUSTRIAL | 6204 | 4 | 2832
464 | NANDYAL | Kranthi Nagar | 9578 | 3 | 3775
465 | NANDYAL | 11KV NGO S | 15682 | 6 | 6243
466 | NANDYAL | 11KV SAIBABA NAGAR | 7034 | 2 | 2607
467 | NANDYAL | 11KV PONAPURAM | 1858 | 2 | 5422
468 | NANDYAL | 11KV RURAL INDUSTRIAL | 1100 | 3 | 4583
469 | NANDYAL | 11 KV REVENUE QUATERS FEEDER | 2644 | 3 | 4562
470 | NANDYAL | 11 KV GELIVI | 2916 | 6 | 9511
471 | NANDYAL | 11 KV RTC 2 | 4553 | 8 | 8000
472 | NANDYAL | 11 KV NUNAPALLI | 4463 | 0 | 0
473 | NANDYAL | Srinivasa center | 5394 | 2 | 1974
474 | NANDYAL | Tekke | 4410 | 4 | 9297
475 | NANDYAL | Padhmavathi nagar | 23160 | 1 | 1230
476 | NANDYAL | Sanjeev nagar gate | 3163 | 3 | 4109
477 | NANDYAL | 11KV MILK DAIRY | 4002 | 3 | 2053
478 | NANDYAL | 11KV TOWN | 1489 | 2 | 2987
479 | NANDYAL | 11KV NADIGADDA | 5838 | 1 | 538
480 | NANDYAL | 11KV BYPASS | 3963 | 1 | 2331
481 | NANDYAL | 11KV SUGAR | 2536 | 1 | 2053
482 | NANDYAL | 11 KV WATER WORKS | 7711 | 7 | 17288
483 | NANDYAL | 11KV Y.S.R | 4636 | 3 | 6210
484 | NANDYAL | 11KV BOMALASATRAM | 9214 | 4 | 3260
485 | NANDYAL | 11KV RTC | 2048 | 3 | 3901
486 | NANDYAL | 11KV INDUSTRIAL | 1358 | 2 | 3874
487 | NANDYAL | 11KV BOGULINE | 3950 | 3 | 5230
488 | NANDYAL | 11 KV GOVT.HOSPITAL FEEDER | 3693 | 2 | 2266
489 | NARASARAOPET | 11KV Prakash Nagar | 2320 | 5 | 14766
490 | NARASARAOPET | 11KV RTC | 2059 | 9 | 26475
491 | NARASARAOPET | 11KV Estate | 2782 | 1 | 2557
492 | NARASARAOPET | 11KV Bank Colony | 4351 | 5 | 7610
493 | NARASARAOPET | 11KV ShalemNagar | 2053 | 15 | 26065
494 | NARASARAOPET | 11KV ST.Anns | 4041 | 15 | 27752
495 | NARASARAOPET | 11KV Town Hall | 2510 | 14 | 29265
496 | NARASARAOPET | 11KV Sivastatue Centre | 3313 | 4 | 8783
497 | NARASARAOPET | 11KV Town C | 3807 | 1 | 529
498 | NARASARAOPET | 11KV Station Road | 1967 | 12 | 22087
499 | NARASARAOPET | 11KV Burampet | 2984 | 2 | 6160
500 | NARASARAOPET | 11KV Town A | 3654 | 1 | 1179
501 | NARASARAOPET | 11KV Pathuru | 2219 | 3 | 6938
502 | NARASARAOPET | 11KV Islampet | 5416 | 9 | 25728
503 | NARASARAOPET | 11KV Ramireddypet | 2263 | 15 | 27503
504 | NARASARAOPET | 11KV Sisumandir | 1728 | 5 | 9154
505 | NARASARAOPET | 11KV SS & N College | 2445 | 7 | 18905
506 | NARASARAOPET | 11KV Palanadu | 1746 | 3 | 4987
507 | NARASARAOPET | 11KV Govt. Hospital | 2106 | 15 | 20082
508 | NARASARAOPET | 11KV Town B | 4099 | 3 | 10535
509 | NELLORE | 11KV Sundaraiah Colony | 6371 | 3 | 2939
510 | NELLORE | 11KV RTO Office | 4583 | 3 | 4848
511 | NELLORE | 11KV D.K.W. | 1047 | 1 | 1439
512 | NELLORE | 11KV Santhi Nagar | 3659 | 7 | 9080
513 | NELLORE | 11KV Rajavari Street | 4943 | 4 | 5481
514 | NELLORE | 11KV Nawabala | 3890 | 4 | 6753
515 | NELLORE | 11KV ISKCON City | 1915 | 1 | 2185
516 | NELLORE | 11KV Trunkroad Cable | 894 | 1 | 586
517 | NELLORE | 11KV OLD ZP | 6554 | 2 | 1212
518 | NELLORE | 11KV Mansoornagar | 1888 | 5 | 5286
519 | NELLORE | 11KV Padugupadu | 2104 | 8 | 17419
520 | NELLORE | 11 KV DSR+11 KV MCN+11KV Collectorbangla | 2631 | 1 | 2054
521 | NELLORE | 11KV Padarupalli | 4646 | 7 | 12073
522 | NELLORE | 11KV Auto Nagar | 4315 | 4 | 4617
523 | NELLORE | 11KV Pappula street (C.G.Road) | 1187 | 4 | 5630
524 | NELLORE | 11 KV MSR+11 KV Sujathamma Colony | 1116 | 2 | 3028
525 | NELLORE | 11KV Dargamitta. | 8879 | 2 | 3615
526 | NELLORE | 11KV Adithya Nagar | 5955 | 2 | 5230
527 | NELLORE | 11KV Collector office Cable | 1991 | 2 | 2831
528 | NELLORE | 11KV Ranganayakula Pet | 4578 | 4 | 5051
529 | NELLORE | 11KV Pragati Nagar | 1493 | 1 | 2056
530 | NELLORE | 11KV Chandra mouli nagar | 3514 | 4 | 6513
531 | NELLORE | 11KV SapthagiriColony | 3624 | 2 | 3003
532 | NELLORE | 11 KV Gowthami Nagar Feeder | 2479 | 1 | 2206
533 | NELLORE | 11 KV Pragathi Nagar Feeder | 3991 | 1 | 5947
534 | NELLORE | 11 KV Z.P.Colony Feeder | 6767 | 1 | 1827
535 | NELLORE | 11KV Pennar | 7176 | 5 | 12155
536 | NELLORE | 11 KV DSR Hospital Feeder | 6955 | 1 | 2146
537 | NELLORE | 11KV Nethaji Nagar | 5869 | 1 | 1782
538 | NELLORE | 11 KV Gandhi nagar+11 KV Enadu | 5541 | 4 | 5664
539 | NELLORE | 11KV D.S.Nagar | 3182 | 3 | 3029
540 | NELLORE | 11KV NGO COLONY | 3338 | 3 | 4137
541 | NELLORE | 11KV R F Road / Iska donka | 4470 | 1 | 496
542 | NELLORE | 11KV Kondayapalem | 2768 | 5 | 6407
543 | NELLORE | 11KV Venkatadri | 2717 | 3 | 2961
544 | NELLORE | 11KV Complex Road | 2857 | 3 | 4843
545 | NELLORE | 11KV PARTHASARADHI NAGAR | 2048 | 2 | 4047
546 | NELLORE | 11KV Janardan Reddy Colony | 3367 | 2 | 3183
547 | NELLORE | 11KV Appolo | 1116 | 2 | 3341
548 | NELLORE | 11KV Rammurthy Nagar / James Garden | 3816 | 1 | 1345
549 | NELLORE | 11 KV Tadikela bazar | 4567 | 4 | 4602
550 | NELLORE | 11 KV Meclance | 3050 | 2 | 3186
551 | NELLORE | 11KV NTR Nagar | 2958 | 5 | 8179
552 | NELLORE | 11KV SIMHAPURI HOSPITAL | 6764 | 1 | 2010
553 | NELLORE | 11KV Lecturers Colony | 6956 | 0 | 0
554 | NELLORE | 11KV Nartaki Centre | 2966 | 4 | 3980
555 | NELLORE | 11KV Kaveri Nagar | 4800 | 1 | 436
556 | NELLORE | 11KV Ramaiah badi | 4086 | 3 | 4484
557 | NELLORE | 11 KV Mulumudi busstand | 3338 | 2 | 1749
558 | NELLORE | 11KV Padmavathi Nagar | 1259 | 1 | 5401
559 | NELLORE | 11KV Ramji Nagar | 2192 | 4 | 4713
560 | NELLORE | 11KV AP TOURISM | 4805 | 2 | 5230
561 | NELLORE | 11KV Simhapuri Hotel | 1227 | 4 | 6530
562 | NELLORE | 11 KV Gupthapark | 3956 | 1 | 1230
563 | NELLORE | 11KV Fathekhan Pet | 4284 | 1 | 1728
564 | NELLORE | 11 KV Wiewers colony | 3742 | 2 | 2512
565 | NELLORE | 11KV FCI colony | 4313 | 5 | 6779
566 | NELLORE | 11KV POSTAL COLONY | 2001 | 2 | 3538
567 | NELLORE | 11 KV Janda Street Feeder | 4313 | 5 | 6230
568 | NELLORE | 11KV Haranadha Puram. | 4305 | 6 | 13651
569 | NELLORE | 11KV Muralikrishna | 7526 | 6 | 7728
570 | NELLORE | 11KV SIMHAPURI COLONY | 3097 | 2 | 5368
571 | NELLORE | 11KV MCN WaterWorksdedicated(NMC) | 4320 | 5 | 7080
572 | NELLORE | 11KV Walkers Road | 7089 | 7 | 15006
573 | NELLORE | 11 KV Khuddus Nagar | 7527 | 4 | 3965
574 | NELLORE | 11KV Kotamitta. | 5931 | 4 | 5368
575 | NELLORE | 11 KV ERO Feeder | 1827 | 3 | 4602
576 | NELLORE | 11KV Venkateswara Puram | 3097 | 4 | 3893
577 | NELLORE | 11KV Gandhi Girijana Colony | 6505 | 4 | 6491
578 | NELLORE | 11 KV Laxmi puram | 4531 | 1 | 1236
579 | NELLORE | 11 KV Bodigadi thota | 3371 | 4 | 10880
580 | NELLORE | 11KV Balajinagar. | 7089 | 1 | 1345
581 | NELLORE | 11KV C.G.Road | 5932 | 2 | 708
582 | NELLORE | 11KV POLICE COLONY | 3585 | 2 | 4042
583 | NELLORE | 11KV D.S.Industrial | 3199 | 4 | 3186
584 | NELLORE | 11KV VidyuthBhavan | 9310 | 1 | 4410
585 | NELLORE | 11KV S.H.Pet . | 5141 | 4 | 5362
586 | NELLORE | 11KV Nawabpet | 8664 | 6 | 7637
587 | NELLORE | 11KV Pogathota | 2468 | 2 | 1880
588 | NELLORE | 11KV Sunday Market | 4336 | 2 | 7556
589 | NELLORE | 11KV Brundavanam | 7795 | 2 | 4228
590 | NELLORE | 11KV Big Bazar-1+II+ERO | 5022 | 1 | 3236
591 | NELLORE | 11KV Nippo Industrial feeder | 822 | 1 | 3232
592 | NELLORE | 11KV A.C. Nagar / SVR | 6153 | 1 | 641
593 | NELLORE | 11KV Sanjay Gandhi Nagar | 4839 | 1 | 688
594 | NELLORE | 11KV Industrial & Domestic feeder | 2802 | 1 | 586
595 | NELLORE | 11KV Jyothi Nagar | 6959 | 2 | 5896
596 | NELLORE | 11KV Wood Complex | 1393 | 1 | 2013
597 | NELLORE | 11KV Venkatareddy Nagar | 2698 | 3 | 3218
598 | NELLORE | 11KV Saraswathi Nagar | 2182 | 2 | 3592
599 | NELLORE | 11KV Yelamavari Dinnee | 8415 | 1 | 1176
600 | NELLORE | 11KV VRC | 6959 | 2 | 2142
601 | NUZVID | 11KV Local/Nuzvid-3 | 4049 | 2 | 3009
602 | NUZVID | 11KV Local/Nuzvid-2 | 3065 | 1 | 3257
603 | NUZVID | 11 KV Nandini (HT) | 2 | 5 | 8911
604 | NUZVID | 11KV Local/Nuzvid-1 | 3791 | 2 | 3859
605 | NUZVID | 11 KV Krishna water works | 3273 | 8 | 16615
606 | ONGOLE | 11KV RAM NAGAR | 1308 | 3 | 5023
607 | ONGOLE | 11KV TRUNKROAD | 2722 | 1 | 3382
608 | ONGOLE | 11KV FILTERBED | 8 | 1 | 3750
609 | ONGOLE | 11KV LAMBADIDONKA | 421 | 4 | 8715
610 | ONGOLE | 11KV LAWERPET | 1814 | 4 | 9896
611 | ONGOLE | 11KV CRP | 3218 | 4 | 4683
612 | ONGOLE | 11KV INDUSTRIAL | 10644 | 4 | 7804
613 | ONGOLE | 11KV MILKDIARY | 4 | 4 | 7504
614 | ONGOLE | 11KV KAMMAPALEM | 2318 | 4 | 8071
615 | ONGOLE | 11KV LIC | 1779 | 2 | 2089
616 | ONGOLE | 11KV SRI NAGAR | 12354 | 4 | 11966
617 | ONGOLE | 11KV KMS SCHOOL | 1179 | 5 | 6818
618 | ONGOLE | 11KV ENUGACHETTU | 3010 | 2 | 2165
619 | ONGOLE | 11KV KURNOOL ROAD | 3603 | 8 | 13670
620 | ONGOLE | 11KV ADDANKI BUS STAND | 1069 | 5 | 18231
621 | ONGOLE | 11KV SUNDARAIAHBHAVAN ROAD | 904 | 5 | 13092
622 | ONGOLE | 11KV BHAGYA NAGAR | 4939 | 3 | 6320
623 | ONGOLE | 11KV RAILWAY | 1 | 4 | 11249
624 | ONGOLE | 11KV VIP ROAD | 1707 | 2 | 7319
625 | ONGOLE | 11KV NIRMAL NAGAR | 1987 | 4 | 12243
626 | ONGOLE | 11KV WOOD COMPLEX | 1774 | 5 | 9771
627 | ONGOLE | 11KV MUNICIPAL | 9306 | 2 | 5029
628 | ONGOLE | 11 KV SONIAGANDHI NAGAR | 1100 | 1 | 2460
629 | ONGOLE | 11KV RIMS | 294 | 5 | 8977
630 | ONGOLE | 11KV Sangamitra | 2202 | 6 | 10254
631 | ONGOLE | 11KV RAJIVNAGAR | 2248 | 4 | 7066
632 | ONGOLE | 11KV POLICE QUARTERS | 1181 | 1 | 3010
633 | ONGOLE | Housing Board feeder | 5211 | 1 | 2132
634 | ONGOLE | 11KV Ambedkar Nagar | 3512 | 4 | 4871
635 | ONGOLE | 11KV SATYANARAYANA PURAM | 3536 | 5 | 10634
636 | ONGOLE | 11KV SIVAJINAGAR | 4966 | 2 | 4084
637 | ONGOLE | 11KV SOUTH BYPASS FEEDER | 12787 | 3 | 9925
638 | ONGOLE | 11KV DWARAKA NAGAR | 2524 | 7 | 13057
639 | ONGOLE | 11KV SANTHAPETA | 2380 | 2 | 3992
640 | ONGOLE | 11KV BALAJI NAGAR | 4663 | 9 | 13083
641 | ONGOLE | 11KV LIC FEEDER | 1787 | 2 | 2089
642 | ONGOLE | 11KV CLOUGHPET FEEDER | 2146 | 4 | 4335
643 | ONGOLE | 11KV CRP FEEDER | 3218 | 2 | 4683
644 | ONGOLE | 11KV SAMATHA NAGAR | 21654 | 6 | 17043
645 | ONGOLE | 11KV BRUNDAVAN NAGAR | 1500 | 6 | 13949
646 | ONGOLE | 11KV PEERLAMANYAM | 3398 | 7 | 14475
647 | ONGOLE | 11KV MILK DAIRY DEDICATED | 1909 | 4 | 7504
648 | ONGOLE | 11KV ISLAMPET | 2774 | 5 | 8829
649 | ONGOLE | 11KV Seetharamapuram | 918 | 6 | 9613
650 | ONGOLE | 11KV ZP colony | 2599 | 3 | 4829
651 | ONGOLE | 11KV RTC | 1525 | 9 | 13482
652 | ONGOLE | 11KV SRIGIRI | 3950 | 2 | 4671
653 | ONGOLE | 11KV 60 FEET ROAD | 2344 | 3 | 7388
654 | ONGOLE | 11KV SUJATHA NAGAR | 1889 | 3 | 4041
655 | ONGOLE | 11KV GOPAL NAGAR | 2251 | 5 | 8522
656 | ONGOLE | 11KV BAPUJI COMPLEX | 2988 | 4 | 10535
657 | PONNURU | 11KV ABDUL KALAM | 3354 | 8 | 24229
658 | PONNURU | 11KV Ponnuru Town-III (Express ) | 6648 | 9 | 14656
659 | PONNURU | 11KV Ponnuru Town - II | 4044 | 6 | 10124
660 | PONNURU | 11KV Ponnuru Town - I | 2645 | 7 | 19514
661 | PONNURU | 11KV AMBEDKAR COLONY | 3638 | 3 | 3850
662 | PONNURU | 11KV Nidubrolu-II | 2212 | 11 | 21028
663 | PONNURU | 11KV Nidubrolu-I | 2881 | 2 | 3328
664 | PONNURU | 11KV Ponnur Express -I | 3501 | 15 | 27654
665 | PRODDUTUR | 11KV Teachercolony | 3820 | 7 | 8865
666 | PRODDUTUR | 11KV Zinnaroad | 7055 | 3 | 5045
667 | PRODDUTUR | 11KV Litepalem | 8490 | 2 | 1849
668 | PRODDUTUR | 11KV Railway Station | 1597 | 1 | 586
669 | PRODDUTUR | 11KV Andhra Kesari | 7324 | 4 | 9710
670 | PRODDUTUR | 11KV Gandhi Road | 4330 | 2 | 2920
671 | PRODDUTUR | 11KV Ammavarisala | 5172 | 2 | 2315
672 | PRODDUTUR | 11KV Arts College | 3140 | 1 | 778
673 | PRODDUTUR | 11KV Power House Road | 20544 | 4 | 2103
674 | PRODDUTUR | 11KV Buddayapalli | 4669 | 4 | 10478
675 | PRODDUTUR | 11KV Korrapadu | 4657 | 2 | 5067
676 | PRODDUTUR | 11KV Sivalayam | 23158 | 8 | 16315
677 | PRODDUTUR | 11KV Amrutha Nagar | 1733 | 12 | 14887
678 | PRODDUTUR | 11KV Rameswaram Water works | 1016 | 1 | 1760
679 | PRODDUTUR | 11KV Andaman Water Works | 7 | 3 | 3954
680 | PRODDUTUR | 11KV D.D.C. | 5233 | 2 | 1999
681 | PRODDUTUR | 11KV Rameswaram | 4528 | 9 | 13810
682 | PRODDUTUR | 11KV Express | 4803 | 12 | 17836
683 | PRODDUTUR | 11KV YTL Road | 1068 | 2 | 1637
684 | PRODDUTUR | 11KV Sree Ram Nagar | 5614 | 4 | 15738
685 | PUNGANURU | 11KV Kothindlu | 2622 | 5 | 8115
686 | PUNGANURU | 11KV Rahamath Nagar | 6760 | 9 | 15013
687 | PUNGANURU | 11KV Melupatla | 3641 | 7 | 9778
688 | PUNGANURU | 11KV Koneru | 4579 | 2 | 2119
689 | PUNGANURU | 11KV N S peta | 1631 | 1 | 2265
690 | PUNGANURU | 11KV Nagari | 3888 | 9 | 11045
691 | PUNGANURU | 11KV Nagapalyam | 4291 | 10 | 15953
692 | RAYACHOTI | 11KV Masapeta | 5116 | 10 | 14304
693 | RAYACHOTI | 11KV Old Rayachoty | 7810 | 10 | 12472
694 | RAYACHOTI | 11KV RAYACHOTI TOWN | 16516 | 12 | 24940
695 | RAYACHOTI | 11KV Bustand Road | 17916 | 13 | 22985
696 | RAYACHOTI | 11KV Trunk Road | 5614 | 19 | 31529
697 | RAYACHOTI | 11KV T.S.Palli Road | 14102 | 4 | 7640
698 | RAYADURG | 11KVRayadurg Town-II | 9877 | 13 | 18093
699 | RAYADURG | 11KVRayadurg Town-I | 17352 | 11 | 22727
700 | REPALLE | 11KV Repalle Local I | 5630 | 12 | 30123
701 | REPALLE | 11KV Repalle Local IV | 5270 | 1 | 1204
702 | REPALLE | 11KV Repalle Local III | 4944 | 2 | 3965
703 | REPALLE | 11KV Repalle Town V | 4368 | 14 | 20146
704 | REPALLE | 11KV Repalle Local II | 3709 | 10 | 49560
705 | SATTENAPALLI | 11KV Town.A | 74 | 2 | 3004
706 | SATTENAPALLI | 11KV Nandigama | 9793 | 5 | 9770
707 | SATTENAPALLI | 11KV BSNL | 2814 | 2 | 3145
708 | SATTENAPALLI | 11KV MADDURU BAVI | 3158 | 7 | 19666
709 | SATTENAPALLI | 11 KV New Feeder | 1903 | 3 | 3726
710 | SATTENAPALLI | 11KV NAGARJUNA NAGAR | 2012 | 8 | 19253
711 | SATTENAPALLI | 11KV Town.C | 4252 | 9 | 11088
712 | SATTENAPALLI | 11KV Town.B | 6192 | 2 | 1589
713 | SATTENAPALLI | 11KV Indl. | 1489 | 2 | 3064
714 | SATTENAPALLI | 11KV Town.D | 2589 | 3 | 5712
715 | SATTENAPALLI | 11KV Phanidam | 2803 | 1 | 3134
716 | SRIKALAHASTI | 11KV Four Mada Streets | 3143 | 3 | 3469
717 | SRIKALAHASTI | 11KV Baskar Peta | 4208 | 6 | 12419
718 | SRIKALAHASTI | 11KV Court | 3154 | 2 | 3089
719 | SRIKALAHASTI | 11KV Kothapeta | 5353 | 3 | 3053
720 | SRIKALAHASTI | 11KV SannidhiVeedhi | 2765 | 2 | 3469
721 | SRIKALAHASTI | 11KV Temple | 3143 | 2 | 529
722 | SRIKALAHASTI | 11KV Panagal | 4860 | 1 | 920
723 | SRIKALAHASTI | 11KV Kanta Street | 2235 | 4 | 5841
724 | SRIKALAHASTI | 11KV Town-2 | 5371 | 2 | 2176
725 | SRIKALAHASTI | 11KV Town-4 | 1692 | 3 | 3426
726 | SRIKALAHASTI | 11KV Cinema Street | 4375 | 2 | 2762
727 | SRIKALAHASTI | 11KV S.R.N.Colony | 2422 | 1 | 1204
728 | SRIKALAHASTI | 11KV Bahadurpet | 6875 | 3 | 3804
729 | SRIKALAHASTI | 11KV Kasa Garden | 7584 | 3 | 3883
730 | SRIKALAHASTI | 11KV C.G.Puram | 412 | 2 | 7669
731 | SRIKALAHASTI | 11KV Town-1 | 12081 | 1 | 1076
732 | TADIPATRI | 11 KV Nandalapadu | 6075 | 1 | 128
733 | TADIPATRI | 11KV Tadipatri Town-II | 1644 | 10 | 29878
734 | TADIPATRI | 11KV Tadipatri Town-I | 6954 | 2 | 1312
735 | TADIPATRI | 11KV C.P.I Feeder | 12316 | 17 | 39006
736 | TADIPATRI | 11KV Nandayal Road | 8413 | 14 | 17368
737 | TADIPATRI | 11KV Yellanur Road | 6569 | 8 | 9309
738 | TENALI | 11KV Tenali Local IV | 4707 | 3 | 8108
739 | TENALI | 11KV Tenali S.S.Palem | 2993 | 9 | 19420
740 | TENALI | 11KV Tenali Industrial Estate | 4775 | 6 | 17597
741 | TENALI | 11KV Tenali UDA | 5231 | 7 | 17575
742 | TENALI | 11KV Tenali Railway Station | 2017 | 1 | 1943
743 | TENALI | 11KV Ganganammapet | 6208 | 1 | 1945
744 | TENALI | 11KV Wahab Chowk | 4761 | 1 | 1945
745 | TENALI | 11KV Tenali Water Works | 1857 | 4 | 6812
746 | TENALI | 11KV Tenali Government Hospital | 2916 | 1 | 1374
747 | TENALI | 11KV CN Colony | 1902 | 4 | 8631
748 | TENALI | 11KV Pinapadu | 3728 | 2 | 6913
749 | TENALI | 11KV Sulthanabad | 4409 | 4 | 7800
750 | TENALI | 11KV Tenali Auto Nagar | 1919 | 16 | 37382
751 | TENALI | 11KV Tenali Local IX | 2303 | 7 | 12956
752 | TENALI | 11KV Tenali Local III | 3670 | 4 | 9350
753 | TENALI | 11KV Tenali Local XI | 6086 | 7 | 8213
754 | TENALI | 11KV Tenali Local V | 6420 | 5 | 9770
755 | TENALI | 11KV Tenali Local I | 4788 | 1 | 3540
756 | TENALI | 11KV Tenali Local VIII | 2440 | 5 | 12250
757 | TENALI | 11KV Tenali R.R.Nagar | 2142 | 5 | 8554
758 | TENALI | 11KV Balajiraopet | 3559 | 2 | 2902
759 | TENALI | 11KV Tenali Local VI | 3452 | 6 | 9346
760 | TENALI | 11KV Tenali Local X | 3914 | 6 | 10948
761 | TIRUPATI | 11KV VIDYAPEETAM | 6491 | 2 | 2634
762 | TIRUPATI | 11KV VAIKUNTA PURAM & NEW BALAJI COLONY | 7029 | 1 | 850
763 | TIRUPATI | 11KV TIRUPATI I | 3072 | 1 | 236
764 | TIRUPATI | 11 KV SRI PADMAVATHI GUEST HOUSE | 3583 | 1 | 454
765 | TIRUPATI | 11KV P.K.LAYOUT | 4422 | 4 | 16984
766 | TIRUPATI | 11KV SVIMS | 5936 | 1 | 803
767 | TIRUPATI | 11 KV TTD (S.V.POOR HOME) | 4388 | 1 | 1032
768 | TIRUPATI | 11KV FOOT PATH & SCINCE CENTRE | 15623 | 2 | 3123
769 | TIRUPATI | 11KV NEW BALAJI COLONY | 6581 | 2 | 2461
770 | TIRUPATI | 11KV HOUSING BOARD Colony | 13594 | 2 | 1425
771 | TIRUPATI | 11KV THIMMINAIDU PALEM | 3284 | 3 | 5278
772 | TIRUPATI | 11KV THYAGARAJA NAGAR | 9337 | 2 | 1176
773 | TIRUPATI | 11KV BAIRAGIPATTEDA | 3567 | 5 | 15146
774 | TIRUPATI | 11KV MAHILA UNIVERSITY | 6307 | 2 | 678
775 | TIRUPATI | 11KV RC ROAD | 4174 | 7 | 8992
776 | TIRUPATI | 11KV TIRUPATI III | 6613 | 1 | 420
777 | TIRUPATI | 11KV SN PURAM | 8076 | 2 | 4853
778 | TIRUPATI | 11 KV S.V. POLYTECHNIC | 384 | 2 | 5091
779 | TIRUPATI | 11KV TTD PRESS | 1465 | 2 | 1065
780 | TIRUPATI | 11KV RAMULAVARI TEMPLE | 4569 | 3 | 3438
781 | TIRUPATI | 11 KV TMC | 6556 | 1 | 1032
782 | TIRUPATI | 11KV TIRUPATI II | 3750 | 4 | 5969
783 | TIRUPATI | 11KV BLISS | 3510 | 2 | 2572
784 | TIRUPATI | 11 KV KHADI COLONY | 5062 | 2 | 1841
785 | TIRUPATI | 11KV ISKCON | 3067 | 1 | 1841
786 | TIRUPATI | 11 KV WATER WORKS | 2 | 5 | 12109
787 | TIRUPATI | 11 KV KTF | 3744 | 1 | 762
788 | TIRUPATI | 11KV BHAVANI NAGAR AND T.K.STREET | 3568 | 3 | 5630
789 | TIRUPATI | 11KV MEDICAL COLLEGE | 493 | 8 | 8860
790 | TIRUPATI | 11KV KESAVAYANA GUNTA | 3590 | 2 | 3893
791 | TIRUPATI | 11KV CMD | 3199 | 3 | 6955
792 | TIRUPATI | 11KV LEELA MAHAL(MANGALAM) | 8660 | 4 | 4719
793 | TIRUPATI | 11KV UPADYAYA NAGAR | 7795 | 3 | 3027
794 | TIRUPATI | 11KV AIR | 4771 | 1 | 420
795 | TIRUPATI | 11KV MUNIREDDY NAGAR | 6960 | 3 | 4662
796 | TIRUPATI | 11KV AVILALA | 1644 | 2 | 1575
797 | TIRUPATI | 11 KV DWARAKA NAGAR | 2885 | 2 | 3186
798 | TIRUPATI | 11KV NARASIMHATHEERTHAM | 1624 | 3 | 4659
799 | TIRUPATI | 11 KV S.V.U. ADMINISTRATIVE BUILDING | 2996 | 2 | 2205
800 | TIRUPATI | 11 KV VIDYAPEETAM - 2 | 4155 | 2 | 2634
801 | TIRUPATI | 11 KV S.V.VETERINARY UNIVERSITY | 152 | 2 | 1469
802 | TIRUPATI | 11KV MARUTHI NAGAR | 7811 | 5 | 7628
803 | TIRUPATI | 11KV KENCES | 274 | 7 | 13169
804 | TIRUPATI | 11KV VISHNU NIVASAM | 3283 | 3 | 4024
805 | TIRUPATI | 11KV SVRR | 144 | 1 | 562
806 | TIRUPATI | 11KV MARRY CHENNA REDDY COLONY | 6590 | 2 | 2829
807 | TIRUPATI | 11KV LIC ROAD | 4939 | 4 | 4814
808 | TIRUPATI | 11KV PV PURAM | 2745 | 1 | 2228
809 | TIRUPATI | 11KV SANJAY GANDHI COLONY | 6392 | 4 | 11539
810 | TIRUPATI | 11KV YERRAMITTLA(LEELA MAHAL) | 2763 | 3 | 3269
811 | TIRUPATI | 11KV M.K.NAIDU COLONY | 3797 | 5 | 11186
812 | TIRUPATI | 11KV WATER WORKS & SUNDARAIAH NAGAR | 44 | 2 | 1694
813 | TIRUPATI | 11KV SV PURAM | 12717 | 2 | 4640
814 | TIRUPATI | 11KV TILAK ROAD AND REDDY REDDY COLONY | 4078 | 6 | 9524
815 | TIRUPATI | 11KV Giripuram | 3550 | 1 | 1957
816 | TIRUPATI | 11KV JEEVAKONA | 6871 | 1 | 1619
817 | TIRUPATI | 11KV TIRUMALA NAGAR AND BTR COLONY | 5478 | 8 | 12985
818 | TIRUPATI | 11KV BALAJI COLONY | 2746 | 2 | 4300
819 | TIRUPATI | 11KV TOWN CLUB | 3421 | 3 | 5365
820 | TIRUPATI | 11KV PRAKASAM ROAD | 4220 | 5 | 7611
821 | TIRUPATI | 11KV KORLAGUNTA | 7722 | 7 | 15587
822 | TIRUPATI | 11KV PLR GRAND | 3957 | 2 | 1320
823 | TIRUPATI | BTR Colony | 2015 | 3 | 11053
824 | TIRUPATI | 11KV SRINIVASAM | 1456 | 2 | 3419
825 | TIRUPATI | 11KV NARAYAN PURAM | 25801 | 2 | 7009
826 | URAVAKONDA | 11KVUravakonda Town | 12288 | 13 | 14476
827 | VENKATAGIRI | 11KV TOWN 3 | 5129 | 4 | 4120
828 | VENKATAGIRI | 11KV TOWN 5 | 4156 | 6 | 9915
829 | VENKATAGIRI | 11KV TOWN 2 | 3870 | 2 | 3340
830 | VENKATAGIRI | 11KV TOWN 1 | 4125 | 1 | 1298
831 | VENKATAGIRI | 11KV TOWN 4 | 3551 | 15 | 17922
832 | VENKATAGIRI | 11KV TOWN 6 | 4740 | 1 | 110
833 | VIJAYAWADA | 11KV Besant Road | 3705 | 2 | 4121
834 | VIJAYAWADA | 11KV SURYARAOPETA FEEDER | 24568 | 2 | 5232
835 | VIJAYAWADA | 11KV Bandar Road II | 2041 | 2 | 1727
836 | VIJAYAWADA | 11KV SATYA SAI FEEDER | 2623 | 1 | 350
837 | VIJAYAWADA | 11KV E.S.I | 4442 | 0 | 0
838 | VIJAYAWADA | 11KV ASNAGAR-2 | 3752 | 1 | 1146
839 | VIJAYAWADA | 11KV GULABITHOTHA | 2447 | 2 | 1885
840 | VIJAYAWADA | 11KV MUSIC COLLEGE | 2748 | 1 | 386
841 | VIJAYAWADA | 11KV Geetha Nagar | 4788 | 2 | 4062
842 | VIJAYAWADA | 11KV MARUTHI NAGAR FEEDER | 5088 | 1 | 280
843 | VIJAYAWADA | 11KV Tank Bund | 3602 | 1 | 1395
844 | VIJAYAWADA | 11KV GEETAMANDIRAM FEEDER | 6629 | 2 | 3500
845 | VIJAYAWADA | 11KV Telephone exchange | 3973 | 1 | 2975
846 | VIJAYAWADA | 11KV Station Transformer | 12190 | 1 | 4784
847 | VIJAYAWADA | 11KV Katurivari Street | 3395 | 1 | 2645
848 | VIJAYAWADA | 11KV Chitturi Complex | 3828 | 1 | 2259
849 | VIJAYAWADA | 11KV Bodemma Hotel | 1477 | 2 | 1662
850 | VIJAYAWADA | 11KV Bavanarayana Street | 3851 | 1 | 1011
851 | VIJAYAWADA | 11KV Jandachettu | 5743 | 1 | 586
852 | VIJAYAWADA | 11KV M.G ROAD FEEDER | 4080 | 1 | 1083
853 | VIJAYAWADA | 11KV ELURUROAD | 3599 | 2 | 984
854 | VIJAYAWADA | 11KV DURGAPURAM | 5759 | 1 | 2862
855 | VIJAYAWADA | 11KV Ramavarappadu | 5378 | 1 | 1215
856 | VIJAYAWADA | 11KV Samarangam Chowk | 5972 | 3 | 9998
857 | VIJAYAWADA | 11KV Doordarsan | 5532 | 1 | 1252
858 | VIJAYAWADA | 11KV Dornakalroad | 1962 | 1 | 4865
859 | VIJAYAWADA | 11KV Kasturibaipet | 1202 | 1 | 651
860 | VIJAYAWADA | 11KV SIDDARDHA NAGAR | 4877 | 1 | 294
861 | VIJAYAWADA | 11KV UDA COLONY | 5493 | 1 | 963
862 | VIJAYAWADA | 11KV ASNAGAR-1 | 3792 | 1 | 2195
863 | VIJAYAWADA | 11KV MUSEUM ROAD FEEDER | 884 | 1 | 642
864 | VIJAYAWADA | 11KV DISENY LAND | 1638 | 1 | 1142
865 | VIJAYAWADA | 11KV Patamatalanka | 1822 | 1 | 2336
866 | VIJAYAWADA | 11KV Sitara Feeder | 5388 | 2 | 3143
867 | VIJAYAWADA | 11KV JD Nagar | 1067 | 1 | 1607
868 | VIJAYAWADA | 11KV MACHAVARAM FEEDER | 3441 | 1 | 1158
869 | VIJAYAWADA | 11KV DASANJANEYA FEEDER | 1940 | 0 | 0
870 | VIJAYAWADA | 11KV Mahantipuram | 3787 | 1 | 2629
871 | VIJAYAWADA | 11KV Gunadala | 2957 | 1 | 1477
872 | VIJAYAWADA | 11KV Bharathi Nagar | 2071 | 2 | 7625
873 | VIJAYAWADA | 11KV MARYMATHA (GDL) FEEDER | 3498 | 1 | 823
874 | VIJAYAWADA | 11KV GS Alloys | 2386 | 2 | 1074
875 | VIJAYAWADA | 11KV K.C.Canal | 5564 | 2 | 8009
876 | VIJAYAWADA | 11KV NSM | 3432 | 2 | 3376
877 | VIJAYAWADA | 11KV Winchipet | 3045 | 3 | 2727
878 | VIJAYAWADA | 11KV IMP | 3117 | 3 | 5440
879 | VIJAYAWADA | 11KV MUTYALAMPADU | 4027 | 1 | 375
880 | VIJAYAWADA | 11KV PAYAKAPURAM | 5850 | 2 | 1781
881 | VIJAYAWADA | 11KV Patamata Lanka | 2564 | 2 | 2925
882 | VIJAYAWADA | 11KV Santhinagar | 3425 | 1 | 1267
883 | VIJAYAWADA | 11KV Satyanarayanapuram | 2283 | 1 | 682
884 | VIJAYAWADA | 11KV 10 MGD Water Works | 5594 | 1 | 2939
885 | VIJAYAWADA | 11KV Nallagate | 2584 | 1 | 694
886 | VIJAYAWADA | 11KV New RTC Colony | 1295 | 3 | 4402
887 | VIJAYAWADA | 11KV AMMAKALYANAMANDAPAM | 97 | 1 | 1313
888 | VIJAYAWADA | 11KV PAPPULAMILL | 5188 | 1 | 2360
889 | VIJAYAWADA | 11KV KEDARESWARAPETA | 5759 | 1 | 1142
890 | VIJAYAWADA | 11KV AYODYANAGAR | 2885 | 1 | 1206
891 | VIJAYAWADA | 11KV R.L.Nagar | 7602 | 1 | 784
892 | VIJAYAWADA | 11KV SITARAMPURAM FEEDER | 2879 | 1 | 1575
893 | VIJAYAWADA | 11KV Indira Colony | 3306 | 3 | 9700
894 | VIJAYAWADA | 11KV Metla Bazar | 3241 | 1 | 3469
895 | VIJAYAWADA | 11KV Subba Rayanagar | 4122 | 2 | 4248
896 | VIJAYAWADA | 11KV LOTUS | 3274 | 1 | 825
897 | VIJAYAWADA | 11KV Siries | 1650 | 1 | 402
898 | VIJAYAWADA | 11KV AYYAPPANAGAR | 6600 | 1 | 3442
899 | VIJAYAWADA | 11KV Nagarjuna Feeder | 2656 | 4 | 13842
900 | VIJAYAWADA | 11KV VAMBAY COLONY | 6338 | 1 | 815
901 | VIJAYAWADA | 11KV RYTHU BAZAR | 887 | 1 | 943
902 | VIJAYAWADA | 11KV KANDRIGA | 9307 | 1 | 1204
903 | VIJAYAWADA | 11KV High School Road | 2202 | 2 | 4704
904 | VIJAYAWADA | 11KV Tirumala Rao Street | 4972 | 2 | 5962
905 | VIJAYAWADA | 11KV Chowdarypeta | 3811 | 3 | 4210
906 | VIJAYAWADA | 11KV CPWD | 4663 | 1 | 720
907 | VIJAYAWADA | 11KV APIIC | 1787 | 2 | 1265
908 | VIJAYAWADA | 11KV Pipula Road | 2197 | 2 | 1909
909 | VIJAYAWADA | 11KV Liners India | 1499 | 1 | 1080
910 | VIJAYAWADA | 11KV IALA | 960 | 1 | 770
911 | VIJAYAWADA | 11KV Autonagar Bus stand | 1951 | 2 | 8063
912 | VIJAYAWADA | 11KV Indl.Estate | 1372 | 1 | 1062
913 | VIJAYAWADA | 11KV Ranigarithota | 3442 | 1 | 2549
914 | VIJAYAWADA | 11KV SIVALAYAM (GDL) FEEDER | 2621 | 1 | 809
915 | VIJAYAWADA | 11KV Bhavanipuram | 4600 | 2 | 2266
916 | VIJAYAWADA | 11KV Andhra Jyothi | 1841 | 1 | 994
917 | VIJAYAWADA | 11KV Loyola Garden | 1812 | 1 | 1062
918 | VIJAYAWADA | 11KV Treasury Employees colny | 3479 | 1 | 708
919 | VIJAYAWADA | 11KV Ayyappa Nagar | 1661 | 1 | 544
920 | VIJAYAWADA | 11KV Mega Town ship | 1273 | 3 | 3038
921 | VIJAYAWADA | 11KV Punnami | 4588 | 2 | 1376
922 | VIJAYAWADA | 11KV JD Nagar | 1266 | 1 | 708
923 | VIJAYAWADA | 11KV MTY Feeder | 2126 | 3 | 4944
924 | VIJAYAWADA | 11KV Fly over | 3887 | 2 | 1912
925 | VIJAYAWADA | 11KV Govt. Hospital | 4309 | 1 | 708
926 | VIJAYAWADA | 11KV Housing Board | 3433 | 2 | 1200
927 | VIJAYAWADA | 11KV OMKAR KALYANAMANDAPAM FEEDER | 2611 | 1 | 1245
928 | VIJAYAWADA | 11kv Vijaya Lakshmi Feeder | 5491 | 3 | 3531
929 | VIJAYAWADA | 11KV Indl Feeder | 3490 | 1 | 208
930 | VIJAYAWADA | 11KV Kuddus Nagar | 4573 | 2 | 1846
931 | VIJAYAWADA | 11KV CHUTTUGUNTA FEEDER | 6404 | 1 | 1917
932 | VIJAYAWADA | 11KV CM CAMP OFFICE FEEDER | 3336 | 0 | 0
933 | VIJAYAWADA | 11KV V T Road | 1430 | 1 | 2210
934 | VIJAYAWADA | 11KV Templefeeder | 3006 | 2 | 3032
935 | VIJAYAWADA | 11KV Kamakotinagar | 2833 | 3 | 6405
936 | VIJAYAWADA | 11KV Kothapeta | 8679 | 2 | 1060
937 | VIJAYAWADA | 11KV K.L.Rao | 4325 | 2 | 9183
938 | VIJAYAWADA | 11KV SUBBARAO COLONY | 2067 | 2 | 5180
939 | VIJAYAWADA | 11KV P.Ghat-2 | 4602 | 2 | 6260
940 | VIJAYAWADA | 11KV H.W.Works | 2991 | 1 | 1442
941 | VIJAYAWADA | 11KV Chittinagar | 3992 | 6 | 12320
942 | VIJAYAWADA | 11KV BHARATI NAGAR MAIN ROAD | 1699 | 1 | 642
943 | VIJAYAWADA | 11KV Durga Agraharam | 1196 | 1 | 2548
944 | VIJAYAWADA | 11KV SNB COLONY WATERTANK ROAD | 839 | 0 | 0
945 | VIJAYAWADA | 11KV Nehru road | 2548 | 2 | 2796
946 | VIJAYAWADA | 11KV NANDAMURINAGAR | 4914 | 1 | 314
947 | VIJAYAWADA | 11KV Iron Yard | 4299 | 2 | 1116
948 | VIJAYAWADA | 11KV Donbosco | 3758 | 1 | 1180
949 | VIJAYAWADA | 11KV Krishnalanka | 3208 | 1 | 1171
950 | VIJAYAWADA | 11KV B.R.P feeder | 1713 | 1 | 1487
951 | VIJAYAWADA | 11KV Industrial | 3687 | 2 | 5394
952 | VIJAYAWADA | 11KV Panja Centre | 2331 | 1 | 2702
953 | VIJAYAWADA | 11KV Balaji Nagar | 4622 | 1 | 3553
954 | VIJAYAWADA | 11KV NRR PETA | 5127 | 2 | 7626
955 | VIJAYAWADA | 11KV PASUPUTHOTA | 4016 | 1 | 2010
956 | VIJAYAWADA | 11KV Kummaripalem | 3816 | 2 | 1892
957 | VIJAYAWADA | 11KV DEVINAGAR | 3921 | 1 | 1558
958 | VIJAYAWADA | 11KV Vidyadharapuram | 4061 | 5 | 7788
959 | VIJAYAWADA | 11KV RAILWAYSTATION | 2799 | 2 | 720
960 | VIJAYAWADA | 11KV Auto Nagar-I | 1433 | 1 | 708
961 | VIJAYAWADA | 11KV Gurunanak(MG ROAD) FEEDER | 990 | 1 | 1319
962 | VIJAYAWADA | 11KV RAMAKRISHNAPURAM | 2095 | 1 | 1142
963 | VIJAYAWADA | 11KV High Way | 1891 | 1 | 1369
964 | VIJAYAWADA | 11KV INOX | 2332 | 2 | 3010
965 | VIJAYAWADA | 11KV CVR COMPLEX | 4474 | 1 | 569
966 | VIJAYAWADA | 11KV BESENT ROAD FEEDER | 1099 | 1 | 953
967 | VIJAYAWADA | 11KV AMERICAN HOSPITAL FEEDER | 3818 | 1 | 2784
968 | VIJAYAWADA | 11KV BANDAR ROAD FEEDER | 1710 | 1 | 1967
969 | VIJAYAWADA | 11KV LINERS INDIA | 686 | 1 | 1080
970 | VIJAYAWADA | 11KV SVS | 1225 | 2 | 3044
971 | VIJAYAWADA | 11KV Laxmi nagar | 2795 | 1 | 637
972 | VIJAYAWADA | 11KV Giripuram | 2592 | 1 | 1133
973 | VIJAYAWADA | 11KV All India Radio | 4755 | 1 | 367
974 | VIJAYAWADA | 11KV VISALANDRA FEEDER | 1735 | 1 | 4004
975 | VIJAYAWADA | 11KVJAYAPRAKAH NAGAR | 18 | 2 | 5777
976 | VIJAYAWADA | 11KV M.R.Puram | 4587 | 1 | 1432
977 | VIJAYAWADA | 11KV Currency Nagar | 1783 | 2 | 2430
978 | VIJAYAWADA | 11KV Nakkala Road | 1853 | 2 | 3084
979 | VIJAYAWADA | 11KV SRR FEEDER | 3256 | 1 | 1668
980 | VIJAYAWADA | 11KV ALANKAR | 522 | 1 | 730
981 | VIJAYAWADA | 11KV ANNAPURNA | 662 | 1 | 140
982 | VIJAYAWADA | 11KV Pushkar Ghat -1 | 2507 | 2 | 7814
983 | VIJAYAWADA | 11KV NSM YKR | 1346 | 1 | 4656
984 | VIJAYAWADA | 11KV Estate feeder | 296 | 1 | 2734
985 | VIJAYAWADA | 11KV EENADU | 56 | 1 | 1539
986 | VIJAYAWADA | 11KV GANDHINAGAR | 1108 | 1 | 1875
987 | VIJAYAWADA | 11KV GOVERNORPETA | 867 | 1 | 202
988 | VIJAYAWADA | 11KV ARANDALPET | 1060 | 1 | 1520
989 | VIJAYAWADA | 11KV Srinagar Colony | 2820 | 1 | 1003
990 | VIJAYAWADA | 11KV Medical College | 1466 | 1 | 1260
991 | VIJAYAWADA | 11KV Vetarnary Coloy | 2590 | 2 | 8606
992 | VIJAYAWADA | 11KV AS ROAD | 1984 | 2 | 3250
993 | VIJAYAWADA | 11KV Auto Nagar-II | 2300 | 1 | 1027
994 | VIJAYAWADA | 11KV RR feeder | 3516 | 4 | 5334
995 | VIJAYAWADA | 11KV Labbipet | 1613 | 2 | 2427
996 | VIJAYAWADA | 11KV Bandar Road I | 216 | 2 | 651
997 | VIJAYAWADA | 11KV Brundavan Colony | 1796 | 2 | 1437
998 | VIJAYAWADA | 11KV Electricity Colony | 2256 | 2 | 716
999 | VIJAYAWADA | 11KV JNNURM | 1125 | 1 | 1143
1000 | VIJAYAWADA | 11KV Jammichettu | 1456 | 1 | 1402
1001 | VIJAYAWADA | 11KV Prajasekthi Nagar | 1087 | 2 | 2864
1002 | VIJAYAWADA | 11KV Sivagiri | 2977 | 1 | 770
1003 | VIJAYAWADA | 11KV Revenue Colony | 1167 | 3 | 899
1004 | VIJAYAWADA | 11KV Kalanikethan | 1396 | 2 | 815
1005 | VIJAYAWADA | 11KV Nimmathota | 1864 | 1 | 1547
1006 | VIJAYAWADA | 11KV NTR Circle | 5541 | 2 | 2247
1007 | VIJAYAWADA | 11KV SRINAGAR COLONY | 2820 | 1 | 1003
1008 | VIJAYAWADA | 11KV Benz Circle | 1208 | 4 | 5520
1009 | VIJAYAWADA | 11KV Patamata | 11783 | 1 | 1542
1010 | VINUKONDA | 11KV Karampudi Road | 4284 | 3 | 4399
1011 | VINUKONDA | 11KV Vinukonda .1 | 3885 | 3 | 4399
1012 | VINUKONDA | 11KV Exchange | 388 | 6 | 13806
1013 | VINUKONDA | 11KV Vinukonda.5 | 4994 | 2 | 2560
1014 | VINUKONDA | 11KV Vinukonda.7 | 2708 | 3 | 4210
1015 | VINUKONDA | 11KV Vinukonda.8 | 4876 | 2 | 5120
1016 | VINUKONDA | 11KV Vinukonda .2 | 2448 | 6 | 13806
1017 | VINUKONDA | 11KV Vinukonda.6 | 1324 | 7 | 25734
1018 | VINUKONDA | 11KV Vinukonda .3 | 6998 | 4 | 19328
1019 | YEMMIGANUR | 11KV Shiva circle | 8143 | 9 | 23920
1020 | YEMMIGANUR | 11KV Text tile -2 | 1765 | 9 | 27912
1021 | YEMMIGANUR | 11KV Petrol bunk | 4220 | 9 | 22914
1022 | YEMMIGANUR | 11KV Text tile -1 | 1580 | 11 | 32236
1023 | YEMMIGANUR | 11KV Industrial feeder | 3323 | 10 | 46056
1024 | YEMMIGANUR | 11KV Town III | 3333 | 11 | 43549
1025 | YEMMIGANUR | 11KV Town II | 6806 | 8 | 37700
1026 | YEMMIGANUR | 11KV MUNICIPAL WATER WORKS FEEDER | 2458 | 4 | 8850
1027 | YEMMIGANUR | 11KV Town I | 4679 | 9 | 29352